Bldg 356 The entrance door to the roof top mechanical room doors and header needs repair / replacement.

There is a structural crack in the CMU and the reader is heaved above the doors. The entrance door is very difficult to open and close.   There is a possibility of the door frame and CUM to fall from above the door frame

Option 2

Proposal to:

- Remove double door

- Remove door header and loosed CMU blocks above and side of double door.

- Provide and install new double 3x4 metal headers.

- Install new CMU blocks, finish pointing on new blocks.

- Provide and install new double metal fire rated door and frame.

- Fix wall inside, Install back all hardware.

- Seal and paint new installed doors.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY024 |  |  |  |  |  |  |  |  |
| Bldg 356 The entrance door |  |  |  |  |  |  |  |  |
| CSS #91374 - CMI #23777 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 08.08.23 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 85.00 | 72 |  |  |  |  |  | $ 6,120.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 3,840.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 9,960.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred/processed |  |  |  |  |  |  |  | $ |
| 2.2 CE Factor 1.02% |  |  |  |  |  |  |  | $ 199.20 |

| Grand Total |  |  |  |  |  |  |  | $ 10,159.20 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |