Repair South side OMS Garage Door on AMSA Shop

Repair South side OMS Garage Door will not close. Close door switch will stop and not close the door.

:

Proposal to:

- Replace Photo Eyes

- Replace Safety Edge Tape, 24 feet.

- Grease tracks and test.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY011 |  |  |  |  |  |  |  |  |
| Repair South side OMS Garage |  |  |  |  |  |  |  |  |
| CSS #90710 - CMI #19780 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 01.24.23 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 85.00 | 16 |  |  |  |  |  | $ 1,360.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 1,445.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 2,805.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred cost |  |  |  |  |  |  |  | $ 250.00 |
| 2.2 CE Factor 1.02% |  |  |  |  |  |  |  | $ 61.10 |

| Grand Total |  |  |  |  |  |  |  | $ 3,116.10 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |