Building 208 room 312 
Repair 20 2X4 Ceiling Fluorescent fixtures.  Trouble shoot lighting sensors 2nd Floor hallway repair /replace 3 high hats.

Proposal to:

Remove 32 Watt ballast in twenty 3-light lay in fixtures and replace with LED ballast bypass lamps. Remove and replace 6 26Watt compact fluorescent recessed lighting lamps and ballast and replace with new LED ballast bypass lamps. Remove and replace ballast, emergency battery pack and 26watt compact fluorescent lamps in recessed lighting fixtures.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY024 |  |  |  |  |  |  |  |  |
| building 208 room 312 Repair 20 2X4 |  |  |  |  |  |  |  |  |
| CSS #90814 - CMI #20184 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 01.25.23 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 135.00 | 36 |  |  |  |  |  | $ 4,860.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 3,045.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 7,905.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred |  |  |  |  |  |  |  | $ 450.00 |
| 2.2 CE factor 1.02% |  |  |  |  |  |  |  | $ 167.10 |

| Grand Total |  |  |  |  |  |  |  | $ 8,522.10 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |