Repair the bearing and shaft of the fan in air handler 3.

Proposal to:

1. Supply OEM fan assembly.

2. Remove old assembly.

3. Install new assembly

4. Assemble and test.

**Material purchased from York**

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY128 |  |  |  |  |  |  |  |  |
| Repair the bearing and shaft |  |  |  |  |  |  |  |  |
| CSS #91065 - CMI #20220 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 01.24.23 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 150.00 | 12 |  |  |  |  |  | $ 1,800.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 1,906.08 |
| 1.3 Trip |  |  |  |  |  |  |  | $ 75.00 |
| 1.4 Misc |  |  |  |  |  |  |  | $ 90.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 3,871.08 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |

| 2.1 CE Factor 1.02% |  |  |  |  |  |  |  | $ 77.42 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Grand Total |  |  |  |  |  |  |  | $ 3,948.50 |