Repair lighting in unheated storage building, majority of lights are nonfunctional.

Proposal to:

Install new LED high bay lighting in the non-heated storage building. The new lighting will be evenly disbursed, and branch circuits will be taken from the original circuits. Center lights will be removed and lights over shelving will be left in place but disconnected as there is limited access to remove these fixtures. The existing lighting is no longer available, and technology has advanced making newer fixtures more efficient and brighter. Replacing 6 fixtures with 4 new LED fixtures.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY128 |  |  |  |  |  |  |  |  |
| Repair lighting in unheated storage |  |  |  |  |  |  |  |  |
| CSS #91066 - CMI #20221 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 01.25.23 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 135.00 | 10 |  |  |  |  |  | $ 1,350.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 2,506.00 |
| 1.3 Equipment |  |  |  |  |  |  |  | $ 750.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 4,606.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred |  |  |  |  |  |  |  | $ 450.00 |

| 2.2 CE Factor 1.02% |  |  |  |  |  |  |  | $ 101.12 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Grand Total |  |  |  |  |  |  |  | $ 5,157.12 |