Repair emergency lighting back up battery bank.

Proposal to:

Charging and testing of the twenty batteries for the emergency backup lighting. This will consist of 3 independent visits. Ten batteries will be charged overnight each day and each battery will be individually tested as it becomes fully charged to see if it will hold a load. At this time, it is necessary to investigate if these batteries dated 2019 will hold a charge to get the proper voltage to 240 volts DC.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY128 |  |  |  |  |  |  |  |  |
| Repair emergency lighting |  |  |  |  |  |  |  |  |
| CSS #981 - CMI #18252 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 01.24.23 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 125.00 | 35 |  |  |  |  |  | $ 4,375.00 |
| 1.2 Equipment rental |  |  |  |  | $ - | $ - | $ - | $ 1,220.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 5,595.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 CE Factor 1.02% |  |  |  |  |  |  |  | $ 119.90 |
| Grand Total |  |  |  |  |  |  |  | $ 5,706.90 |