In the water room, there is a backflow that is too high and cannot be tested, must be brought down to at least 5 feet as per NYS DOH Cross connection guidelines.

Proposal to:

Remove back-flow preventer from boiler room ceiling location and re-locate to

serviceable location at floor level.

- Re-plumb supply, feed, and drain piping.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY001 |  |  |  |  |  |  |  |  |
| Backflow Preventer, in the water room |  |  |  |  |  |  |  |  |
| CSS #593 - CMI #17636 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 09.26.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 120.00 | 16 |  |  |  |  |  | $ 1,920.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 1,279.58 |
| 1.3 Markup |  |  |  |  | $ - | $ - | $ - | $ 255.92 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 3,455.50 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 CE Factor .90% |  |  |  |  |  |  |  | $ - 345.55 |
| Grand Total |  |  |  |  |  |  |  | $ 3,109.95 |