Repair exterior lights in Parking lot and wall packs on the building.

|  | Proposal for Repairs To Exterior security lighting CSS32919 |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| For: |  | Saugerties, N.Y. USARC |  |  | NY128 |  |  |  |  |
| Location: |  | 1001 Kings Highway Saugerties , N.Y. 12477 |  |  |  |  |  |  |  |
| Scope of work involved at Saugerties USARC |  |  |  |  |  |  |  |  |  |
| 1. Replace a Quantity of ( 7 ) LED drivers & photocells in LED wall mounted lighting fixtures |  |  |  |  |  |  |  |  |  |
| on Main Building & AMSA building. |  |  |  |  |  |  |  |  |  |
| 2. Replace a Quantity of ( 8 ) LED drivers & photocells in LED 35 foot parking lot lighting |  |  |  |  |  |  |  |  |  |
| fixtures in Main driveway, Building areas, AMSA building. |  |  |  |  |  |  |  |  |  |
| 3. Replace a Quantity of ( 4 ) LED rated lighting photocells on Main Building & AMSA building |  |  |  |  |  |  |  |  |  |
| to control lighting for dusk to dawn . |  |  |  |  |  |  |  |  |  |
| 4. Provide All Terrain Boom lift to gain access to parking lot lights around perimeter and grass areas |  |  |  |  |  |  |  |  |  |
| Around building to repair parking lot & building lighting |  |  |  |  |  |  |  |  |  |

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over and Above |  |  |  |  |  |  |  |  |
| NY128 |  |  |  |  |  |  |  |  |
| Repair exterior lights in Parking lot |  |  |  |  |  |  |  |  |
| CSS #32919 - CMI #17207 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 09.26.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor 2 electricians | $ 110.00 | 48 |  |  |  |  |  | $ 5,280.00 |
| 1.2 Boom lift |  |  |  |  | $ - | $ - | $ - | $ 2,235.00 |
| 1.3 Material |  |  |  |  | $ - | $ - | $ - | $ 1,869.68 |
| 1.4 Markup 20% |  |  |  |  |  |  |  | $ 373.94 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 9,758.62 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 110.00 | 4 |  |  |  |  |  | $ 440.00 |
| 2.2 CE Factor .90% |  |  |  |  |  |  |  | $ -1019.88 |

| Grand Total |  |  |  |  |  |  |  | $ 9,178.74 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |