Repair wash rack. Wash rack entrance header was hit by a military vehicle.

Proposal to:

-Remove damaged steel framing members, steel siding and trim on each end

of truck wash structure. Door height to be increased to 13-4” from 12ft

Reconstruct (2) door opening to 20ft x 13-4 high

-Install new structural girts and purlins.

-Install new PBR metal siding to match existing.

-Install new J - mold

-Install perimeter door trim.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY128 |  |  |  |  |  |  |  |  |
| Repair wash rack |  |  |  |  |  |  |  |  |
| CSS #219 - CMI #17195 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 07.06.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 120.00 | 148 |  |  |  |  |  | $ 17,760.00 |
| 1.2 Materials |  |  |  |  | $ - | $ - | $ - | $ 6,042.19 |
| 1.3 Equipment rental |  |  |  |  |  |  |  | $ 1,600.00 |
| 1.4 Waste disposal |  |  |  |  |  |  |  | $ 350.00 |
| 1.5 Freight / Handling fees |  |  |  |  |  |  |  | $ 375.00 |
| 1.6 20% Material Markup |  |  |  |  |  |  |  | $ 1,673.44 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 27,800.63 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 CE Factor .90% |  |  |  |  |  |  |  | $ -2,780.07 |
| Grand Total |  |  |  |  |  |  |  | $ 25,020.56 |