Garbage disposal located in facility kitchen is inoperable and in need of a life cycle replacement. Garbage disposal is used during drill weekends. Serial# N1279275 Model# SS500-30

Proposal is to replace the garbage disposal with a direct replacement.

Scope of work:

Prepare project site for the installation.

Furnish & Install 1 new model SS500, 5HP, 3PH Garbage Disposal

Modify & tie into existing pipe

Start up & verify proper operation

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| WV053 Wheeling |  |  |  |  |  |  |  |  |
| Garbage disposal located in facility |  |  |  |  |  |  |  |  |
| CSS #14351 - CMI # 6409 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 12.06.18 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 98.00 | 8 |  |  |  |  |  | $ 784.00 |
| 1.2 5HP Commercial Disposal/material |  |  |  |  | $ - | $ - | $ - | $ 4,533.00 |
| 5 day lead time |  |  |  |  |  |  |  |  |
| 1.3 Consumables |  |  |  |  |  |  |  | $30.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 5,347.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 98.00 | 4 |  |  |  |  |  | $ 392.00 |
| CE Factor 102% |  |  |  |  |  |  |  | $ 114.78 |
| Grand Total |  |  |  |  |  |  |  | $ 5,853.78 |