Repair 7 emergency lights in building. This repair will require an electrician because 3 of the fixtures are not getting power for whatever reason. Breakers are not tripped yet no voltage going to fixture.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY059 |  |  |  |  |  |  |  |  |
| Repair 7 emergency lights in building. |  |  |  |  |  |  |  |  |
| CSS #31083 - CMI #14861 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 09.24.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 100.00 | 16 |  |  |  |  |  | $ 1,600.00 |
| 1.2 Materials |  |  |  |  | $ - | $ - | $ - | $ 1,041.38 |
| 1.3 |  |  |  |  |  |  |  | $ |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 2,641.38 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 CE Factor .9% |  |  |  |  |  |  |  | $ (237.72) |
| Grand Total |  |  |  |  |  |  |  | $ 2,403.66 |

Proposal to:

| - Remove faulty lighting fixtures. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| - Install a Qty of 7 New LED Emergency / Exit lighting fixtures |  |  |  |  |  |
| - Repair lighting circuit feed to units that had power loss |  |  |  |  |  |