Over and Above Estimate

Region: 2

Location:  NY024

CSS #: 17330

Maximo Work Order No.: 3196

Date Issued: 5/7/2019

Original Description: repair solar light on poles in parking lots (POV) 12

Repairs Needed:

| 1.Repair a Qty of 10 Solar Light Parking Lot Lighting Fixtures. |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2.Repairs will be Limited to Replacing 30 Gel Type Deep Cycle Solar Batteries. |  |  |  |  |  |  |  |  |
| 3. Install 30 New 12 Volt 100AH Deep Cycle Gel Type Solar Batteries. |  |  |  |  |  |  |  |  |
| 4.Units are not functioning currently, and integrity of a working solar system per light pole, |  |  |  |  |  |  |  |  |
| can't be evaluated until replacement batteries are installed. Control Modules, Solar |  |  |  |  |  |  |  |  |
| Collectors, wiring harness and other components are not included in repairs. |  |  |  |  |  |  |  |  |
| When battery replacement is completed, testing of system will be performed once the batteries |  |  |  |  |  |  |  |  |
| have fully charged. If additional work is required, an additional work order will be required. |  |  |  |  |  |  |  |  |
| 5. Disposal of existing Solar batteries will be the responsibility of the USARC. |  |  |  |  |  |  |  |  |

Asset Number: 10748, 10752

| Quantity | Line Item Number | Description | Labor Hours | Shipping | Labor | Materials | Tax | Total |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 30 |  | Solar Batteries |  |  |  |  |  | 8,800.00 |

Note: RS Means (Pre-Priced) not used in compiling this estimate.

Note: Subcontractor quote attached.

Estimate Summary:

| Labor Hours | Labor Cost | Material Cost | Rental Fees | Total Cost | CE Factor | Total Estimate |
| --- | --- | --- | --- | --- | --- | --- |
| 32MH @ $100.00/MH | $3,200.00 | $10,560.00 | $2,331.00 | $16,091.00 | 90% | $15,264.90 |

Note: Tax and shipping are included in the materials cost