Over and Above Estimate

Region: 2

Location:  NY024

CSS #: 19131

Maximo Work Order No.: 3682

Date Issued:  5/6/19

Original Description:  : BLDG 208 1st Floor men room toilet bowl flushometer has no
pressure. 2nd floor male 2 flushometer leaking and 1 urinal flushometer
leaking 2nd floor female 1 flushometer leaking. replace 1 soap dispenser 3rd
floor male 1 flushometer leaking and replace one soap dispenser.  BLDG 356
2nd floor Female Restroom replace broke soap dispenser 2nd floor Male
restroom replace 3 broken soap dispensers 2nd Floor CG Rest Room replace
leaking Trap Prime

Repairs Needed: Replacement od 5 toilet flushometers and spuds. Replacement of 1 urinal flushometers and spud. Replacement of four deck mounted 20oz soap dispensers. Replacement one automatic trap primer.  Start up.  Warranty
Asset Number: Various

| Quantity | Line Item Number | Description | Labor Hours | Shipping | Labor | Materials | Tax | Total |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 5 |  | Toilet flushometers |  |  |  | 469.10 |  | 2345.00 |
| 1 |  | Urinal flushometers |  |  |  | 214.10 |  | 214.10 |
| 4 |  | Deck mounted 20 oz liquid soap dispensers |  |  |  | 66.42 |  | 265.68 |
| 1 |  | Automatic trap primer |  |  |  | 283.33 |  | 283.33 |

Note: RS Means (Pre-Priced) not used in compiling this estimate.

Note: Subcontractor quote attached.

Estimate Summary:

| Labor Hours | Labor Cost | Material Cost | Tax and shipping | Total Cost | CE Factor | Total Estimate |
| --- | --- | --- | --- | --- | --- | --- |
| 11 | $1375.00 | $ 3108.61 | N/A | $4483.61 | 90% | $4035.25 |

Note: Tax and shipping are included in the materials cost