Over and Above Estimate

Region: 2

Location:  NY116, New Windsor, NY

CSS #: 16369

Maximo Work Order No.: 1664

Date Issued: 1/17/2019

Original Description: Security Gate in POV does not work this is main gate for lot New Windsor NY116

Repairs Needed:

| 1.Terminate wiring to existing slide gate motor operator unit. Remove unit from concrete pedestal, |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Customer to dispose of old unit. |  |  |  |  |  |  |  |  |
| 2. Purchase New slide gate operator and deliver to site for installation. |  |  |  |  |  |  |  |  |
| 3. Install a New HySecurity Slide Driver 40 Unit, with 1 HP Motor, 120 volt Unit. |  |  |  |  |  |  |  |  |
| 4. Mechanically Fasten New slide driver to concrete pedestal. |  |  |  |  |  |  |  |  |
| 5. Install a Loop Relay modules in Unit. Wire Loop control relays to main circuit board in Operator. |  |  |  |  |  |  |  |  |
| 6. Rewire Supply circuit to new Operator unit. |  |  |  |  |  |  |  |  |
| 7. Reconfigure existing loops to new Unit. |  |  |  |  |  |  |  |  |
| 8. Reconfigure existing safety controls, ( edge sensor, photo beam, etc) to new Unit. |  |  |  |  |  |  |  |  |
| 9. Adjust main gate slide rail into new operator unit. |  |  |  |  |  |  |  |  |
| 10. Program unit for operation, Test unit for correct operation. |  |  |  |  |  |  |  |  |

Asset Number:

| Quantity | Line Item Number | Description | Labor Hours | Shipping | Labor | Materials | Tax | Total |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  | Hysecurity Slide Driver Unit |  |  |  | $10,523.89 |  | $10,482.89 |
| 1 |  | Misc. Electrical suspplies, fasteners, wire |  |  |  | $958.11 |  | $958.11 |

Note: RS Means (Pre-Priced) not used in compiling this estimate.

Note: Subcontractor quote attached.

Estimate Summary:

| Labor Hours | Labor Cost | Material Cost | Tax and shipping | Total Cost | CE Factor | Total Estimate |
| --- | --- | --- | --- | --- | --- | --- |
| 35mh | #3500.00 | $13,778.84 | NA | $17,278.40 | 90% | $15,550.56 |

Note: Tax and shipping are included in the materials cost