Over and Above Estimate

Region: 2

Location:  NY116

CSS #:  18508

Maximo Work Order No.: 5100

Date Issued:  8/12/19

Original Description: While replacing Bladder found 2 Patterson pumps need bearings replaced.

Repairs Needed: Replace bearing assemblies for 2 (Two) Patterson E2.5F9A-1 pumps.

Asset Number: 10661

| Quantity | Line Item Number | Description | Labor Hours | Shipping | Labor | Materials | Tax | Total |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 |  | Bearing Assemblies |  |  |  | 1,300.00 |  | 1972.50 |

Note: RS Means (Pre-Priced) not used in compiling this estimate.

Note: Subcontractor quote attached.

Estimate Summary:

| Labor Hours | Labor Cost | Material Cost | Tax and shipping | Total Cost | CE Factor | Total Estimate |
| --- | --- | --- | --- | --- | --- | --- |
| 9MH | $1,224.00 | $2,600.00 | N/A | $3824.00 | 90% | $3,441.60 |

Note: Tax and shipping are included in the materials cost