Over and Above Estimate

Region: 2

Location:  NY128

CSS #: 19788

Maximo Work Order No.:  4707

Date Issued: 7/8/19

Original Description: , fan keeps running

Repairs Needed: EMTech proposes to supply all labor and material needed to

• Remove existing motor for Room 112 flammable storage exhaust fan

• Replace with new motor and belts

• Grease bearings and check for amp draw

• Ensure proper operation

Asset Number:

| Quantity | Line Item Number | Description | Labor Hours | Shipping | Labor | Materials | Tax | Total |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

Note: RS Means (Pre-Priced) not used in compiling this estimate.

Note: Subcontractor quote attached.

Estimate Summary:

| Labor Hours | Labor Cost | Material Cost | Tax and shipping | Total Cost | CE Factor | Total Estimate |
| --- | --- | --- | --- | --- | --- | --- |
| 7 MH @$124.00 | $868.00 | $1,589.00 | N/A | $2,457.00 | 90% |  |

Note: Tax and shipping are included in the materials cost