Over and Above Estimate

Region: 2

Location:  NY 116

CSS #:  19946

Maximo Work Order No.: 4714

Date Issued:  9/20/19

Original Description: Doorway overhang soffits at three entry points to the training building need to be replaced due to high wind and water damage. The areas are the training building rear entry, kitchen entry and the main entry point. The main entry point has a leak in the roof causing continuing water damage.

Repairs Needed: Remove existing overhang soffit panels at all three entry points.

- Install 2x6 structural rough framing and furring strips.

- Install perimeter trim cap

- Install new soffit panels to match existing.

- Remove and re-install existing light fixtures

- Repair flashing leak on front roof

Asset Number:

| Quantity | Line Item Number | Description | Labor Hours | Shipping | Labor | Materials | Tax | Total |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 62 |  | Vinyl Siding |  |  |  | $619.38 |  | $619.38 |
| 15 |  | Channel Cap |  |  |  | $73.20 |  | $73.20 |
| 20 |  | 2X6X16 ft |  |  |  | $ 252.40 |  | $252.40 |
| 1 |  | Misc. |  |  |  | $50.00 |  | $50.00 |

Note: RS Means (Pre-Priced) not used in compiling this estimate.

Note: Subcontractor quote attached.

Estimate Summary:

| Labor Hours | Labor Cost | Material Cost | Tax and shipping | Total Cost | CE Factor | Total Estimate |
| --- | --- | --- | --- | --- | --- | --- |
| 130 MH | $15,600.00 | $ 1277.56 | $69.65 | $16,877.56 | 90% | $ 15,189.80 |

Note: Tax and shipping are included in the materials cost