Over and Above Estimate

Region: 2

Location:  NY116

CSS #:18746

Maximo Work Order No.: 5467

Date Issued: 8/20/201

Original Description:

Emergency lights in both AMSA shop and training building are not working.

Repairs Needed:

| 1. Replace Batteries in Stand Alone Emergency Lighting Wall Packs for egress lighting |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| in AMSA Building & Administration Building. |  |  |  |  |  |  |  |  |
| 2. Replace Faulty Emergency Lighting for egress lighting in AMSA building & Administration |  |  |  |  |  |  |  |  |
| Building. |  |  |  |  |  |  |  |  |

Asset Number:

| Quantity | Line Item Number | Description | Labor Hours | Shipping | Labor | Materials | Tax | Total |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 44 |  | Batteries |  |  |  | $39.00 |  | $1,716.00 |
| 7 |  | Emergency Light |  |  |  | $107.00 |  | $749.00 |

Note: RS Means (Pre-Priced) not used in compiling this estimate.

Note: Subcontractor quote attached.

Estimate Summary:

| Labor Hours | Labor Cost | Material Cost | Lift | Total Cost | CE Factor | Total Estimate |
| --- | --- | --- | --- | --- | --- | --- |
| 28MH @$100.00/MH | $2,800.00 | $2,958.00 |  | $5,758.00 | 90% | $5,182.20 |

Note: Tax and shipping are included in the materials cost