## Sheet1
Elin | Facility # | Section J | Inventory Type | Description | Asset # | Equipment Number | Location | Manufacturer | Model No. | Serial No. | Filter Size | Notes
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #1 | MD66-101 | HP-1-1 | Hallway Near rm 116 | Daikin | WCCH-4-024 | 180301949 | 18x18x1 | Corridor and Lobby
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #2 | MD66-102 | HP-1-2 | Rm. 100 | Daikin | WCCH-5-007 | 180300051 | 18x18x1
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #3 | MD66-103 | HP-1-3 | Rm. 101 | Daikin | WCCH-5-007 | 180300052 | 18x18x1 | Supplies RM. 101, 102
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #4 | MD66-104 | HP-1-4 | Rm. 103B | Daikin | WCCH-5-007 | 180300053 | 18x18x1
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #5 | MD66-105 | HP-1-6 | Rm. 105A | Daikin | WCCH-4-015 | 180301695 | 18x18x1
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #6 | MD66-106 | HP-1-7 | Rm. 105B | Daikin | WCCH-4-015 | 180301696 | 18x18x1
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #7 | MD66-107 | HP-1-8 | Rm. 107A | Daikin | WCCH-4-015 | 180301697 | 18x18x1
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #8 | MD66-108 | HP-1-9 | Rm. 107B | Daikin | WCCH-4-019 | 180301716 | 18x18x1
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #9 | MD66-109 | HP-1-10 | Rm. 108 | Daikin | WCCH-5-012 | 180301648 | 18x18x1
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #10 | MD66-110 | HP-1-11 | Rm. 109 | Daikin | WCCH-5-009 | 180301574 | 18x18x1 | Unit Located in Rm. 111
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #11 | MD66-111 | HP-1-5 | Rm. 106 | Daikin | WCCH-5-012 | 180301647 | 18x18x1 | Supplies Rm. 106 and Corridor
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #12 | MD66-112 | HP1-13 | Rm. 111 | Daikin | WCCH-4-015 | 180301698 | 18x18x1 | Supplies Rm. 111, 111B
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #13 | MD66-113 | HP-1-12 | Rm. 110 | Daikin | WCCH-5-007 | 180300054 | 18x18x1
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #14 | MD66-114 | HP-1-14 | Rm. G104 | Daikin | WCCH-4-024 | 180301950 | 18x18x1 | Located mens locker room near back wall
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #15 | MD66-115 | HP-1-15 | Rm. G107 | Daikin | WCCH-5-009 | 180301757 | 18x18x1 | Womens Locker Rm.
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #16 | MD66-116 | HP-1-16 | Rm. 115 | Daikin | WCCh-4-024 | 180400686 | 18x18x1 (2)
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #18 | MD66-118 | HP-1-18 | Rm. 120 | Daikin | WCCH-5-007 | 180300055 | 18x18x1 | Located in Corridor
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #19 | MD66-119 | HP-1-19 | Rm. 124 | Daikin | WCCH-5-007 | 180300056 | 18x18x1 | Supplies 123, 124, 125
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #20 | MD66-120 | HP-1-20 | Rm. 127 | Daikin | WCCH-5-012 | 180301649 | 18x18x1 | Supplies 126, 127, 128, 129
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #21 | MD66-121 | HP-1-21 | Rm. 130 | Daikin | WCCH-5-007 | 180300057 | 18x18x1
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #22 | MD66-122 | HP-1-22 | Rm. 118 | Daikin | WCCH-4-015 | 180301701 | 12x12x1 | Filter in Rm. 119
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #23 | MD66-123 | HP-1-23 | Rm. 100 | Daikin | WCCH-4-015 | 180301702 | 12x12x1 | Supplies Rm. EF131. Filter in Rm. EF131
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #24 | MD66-124 | HP-1-24 | Rm. 132 | Daikin | WCCH-5-007 | 180301515 | 18x18x1
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #25 | MD66-125 | HP-2-1 | Rm. 200B | Daikin | WCCH_5-007 | 180301576 | 18x18x1 | Suppies Rm. 200A, 200B
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #26 | MD66-126 | HP-2-2 | Rm. 200E | Daikin | WCCH-5-009 | 180301577 | 18x18x1 | Supplies Rm. Lobby, corridor, 200E, 200G
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #27 | MD66-127 | HP-2-3 | Rm. 200D | Daikin | WCCH-4-019 | 180301717 | 18x18x1 | Supplies Rm. 200C, 200D, 200F
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #28 | MD66-128 | HP-2-4 | Rm. 200J | Daikin | WCCH-4-019 | 180301718 | 18X18X1 | Supplies Rm. 200H, 200H, 200J, 200K, 223
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #29 | Md66-129 | HP-2-5 | Rm. 222 | Daikin | WCCH-5-009 | 180301577 | 18x18x1
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #30 | MD66-130 | HP-2-6 | Rm. 220 | Daikin | WCCh-5-007 | 180301502 | 18x18x1
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #31 | MD66-131 | HP-2-7 | Rm. 219 | Daikin | WCCH-5-012 | 180301650 | 18x18x1 | Supplies Rm. 217, 218, 221
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #32 | MD66-132 | HP-2-8 | Rm. 215 | Daikin | WCCH-5-012 | 180301651 | 18x18x1 | Supplies Rm. 214, 215, 216
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #33 | MD66-133 | HP-2-9 | Rm. 212 | Daikin | WCCH-5-009 | 180301578 | 18x18x1 | Supplies Rm 211, 212, 213
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #34 | MD66-134 | HP-2-10 | Rm. 210 | Daikin | WCCH-5-007 | 180301503 | 18x18x1
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #35 | MD66-135 | HP-2-11 | Unit Commons Area | Daikin | WCCH-5-030 | 180301771 | 18x18x1 | Supplies rear of Unit Common area
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump # 36 | MD66-136 | HP-2-12 | Unit Commons Area | Daikin | WCCH-5-030 | 180301772 | 18x18x1 | Supplies front of cCommons Area
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #37 | MD66-137 | HP-2-13 | Rm. 218 | Daikin | WCCH-5-009 | 180301579 | 18x18x1 | Supplies Rm 202, 218, 218A, 220A
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #38 | MD66-138 | HP-2-14 | Rm. 205 | Daikin | WCCH-5-007 | 180301504 | 18x18x1
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #39 | MD66-139 | HP-2-15 | Rm. 206 | Daikin | WCCH-5-012 | 180301652 | 18x18x1
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #40 | MD66-140 | HP-2-16 | Rm. 207 | Daikin | WCCH-5-007 | 180301505 | 18x18x1
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #41 | MD66-141 | HP-2-17 | Rm. 208 | Daikin | WCCH-5-007 | 180301506 | 18x18x1 | Supplies Rm 208, 209
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #42 | MD66-142 | HP-2-18 | Rm. 200A | Daikin | WCCH-5-007 | 180301507 | 18x18x1 | Supplies Corridor
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Celiing Mounted Heat Pump #43 | MD66-143 | HP-2-19 | Rm. 229 | Daikin | WCCH-5-12 | 180301653 | 18x18x1 | Supplies Rm 227,229, 231
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #44 | MD66-144 | HP-2-20 | Rm. 228 | Daikin | WCCH-5-009 | 180301580 | 18x18x1 | Supplies Rm 228,263, 264
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #45 | MD66-145 | HP-2-21 | Rm. 230 | Daikin | WCCH-5-012 | 180301654 | 18x18x1 | Supplies 230, 232, 259,262
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #46 | MD66-146 | HP-2-22 | Rm. 234 | Daikin | WCCH-4-015 | 180301699 | 18x18x1 | Supplies 233, 234, 235, 237
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #47 | MD66-147 | HP-2-23 | Corridor @ Brkr. Bx. | Daikin | WCCH-4-019 | 180301719 | 18x18x1 | Supplies C230, 236, 238, 257
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #48 | MD66-148 | HP-2-24 | Rm. 244 | Daikin | WCCH-4-019 | 180301720 | 18x18x1 | Supplies 239, 242, 244. 245
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #49 | MD66-149 | HP-2-25 | Rm. 241 | Daikin | WCCH-5-007 | 180301508 | 18x18x1 | Supplies 240, 241, 255, 256
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #50 | MD66-150 | HP-2-26 | Rm. 243 | Daikin | WCCH-5-007 | 180301509 | 18x18x1 | Supplies 243, 245, 251, 253
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #51 | MD66-151 | HP-2-27 | Rm. 247 | Daikin | WCCH-5-007 | 180301510 | 18x18x1 | Supplies 247
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #52 | MD66-152 | HP-2-28 | Rm. 249 | Daikin | WCCH-5-012 | 180301655 | 18x18x1 | Supplies 248, 249, 250
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #53 | MD66-153 | HP-2-29 | Rm. 272 | Daikin | WCCH-5-012 | 180301656 | 18x18x1 | Supplies 271, 272, 274
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #54 | MD66-154 | HP-2-30 | Rm. 252A | Daikin | WCCH-5-009 | 180301581 | 18x18x1 | Supplies 525, 252A, 524A, 273
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #55 | MD66-155 | HP-2-31 | Rm. 270 | Daikin | WCCH-5-007 | 180301511 | 18x18x1 | Supplies 270
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #56 | MD66-156 | HP-2-32 | Rm. 258 | Daikin | WCCH-4-015 | 180301700 | 18x18x1 | Supplies 254, 258, 256
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #57 | MD66-157 | HP-2-33 | Rm. 260 | Daikin | WCCH-5-007 | 180301512 | 18x18x1 | Supplies 258A, 260, 261
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #58 | MD66-158 | HP-2-34 | Rm. 265 | Daikin | WCCH-5-007 | 180301513 | 18x18x1 | Supplies 265, 265A
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #59 | MD66-159 | HP-2-35 | Rm. 267 | Daikin | WCCH-5-007 | 180301514 | 18x18x1 | Supplies 267, 267A
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #60 | MD66-160 | HP-2-36 | Commons area@267 | Daikin | WCCH-4-024 | 180301960 | 18x18x1 | Supplies 269, commons area
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #61 | MD66-161 | HP-2-37 | Commons area@275 | Daikin | WCCH-4-024 | 180301961 | 18x18x1 | Supplies 269, Communs area
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #62 | MD66-162 | HP-2-38 | Commons Area@202 | Daikin | WCCH-5-030 | 180301773 | 18x18x1 | Supplies 204, Common area
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #63 | MD66-163 | HP-2-39 | Rm. 205 | Daikin | WCCH-2-096 | 180301002 | ? | Supplies Rm. 116, Drill Hall
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #64 | MD66-164 | HP-2-40 | Common area@203 | Daikin | WCCH-5-007 | 180301516 | 12x12x1 | Supplies 203, Filter in 203
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #65 | MD66-165 | HP-2-41 | Common area@225 | Daikin | WCCH-5-012 | 180301657 | 12x12x1 | Supplies 225, Filter in 225
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Ceiling Mounted Heat Pump #66 | MD66-166 | HP-2-42 | Common area @275 | Daikin | WCCH-5-009 | 180301582 | 12x12x1 | Supplies 275, Filter in 275
B571 | MD066 |  | WATER HEATER INVENTORY | Water Storage | MD66-167 | WS-#1 | Mechanical Rm. | Lochinvar
B571 | MD066 |  | WATER HEATER INVENTORY | Water Heater | MD66-168 | WH-#1 | Mechanical Rm,. | Shield
B572 | MD066 |  | CIRCULATING PUMP INVENTORY | Domestic Hot Water Pump | MD66-169 | DHWP-#1 | Mechanical Rm . | TACO
B572 | MD066 |  | CIRCULATING PUMP INVENTORY | Domestic Hot Water Pump | MD66-170 | DHWP-#2 | Mechanical Rm . | TACO
B557 | MD066 |  | HVAC EMS INVENTORY | VFD #1 | MD66-171 | VFD-#1 | Mechanical Rm . | ABB
B557 | MD066 |  | HVAC EMS INVENTORY | VFD #2 | MD66-172 | VFD-#2 | Mechanical Rm . | ABB
B569 | MD066 |  | PLUMBING EQUIPMENT INVENTORY | Thermostatic Mixing Valve #1 | MD66-173 | TMV-#1 | Mechanical Rm . | Sym
B569 | MD066 |  | PLUMBING EQUIPMENT INVENTORY | Thermostatic Mixing Valve #2 | MD66-174 | TMV-#2 | Mechanical Rm . | Sym
B569 | MD066 |  | PLUMBING EQUIPMENT INVENTORY | Pressure Reducing Valve | MD66-175 | PRV-#1 | Mechanical Rm . | Zurn
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Main AHU Mechanical Rm. | MD66-176 | AHU-1 | Mechanical Rm. | Daikin | CW10000-i | 1804001 |  | Belt size B-61 (4)
B569 | MD066 |  | PLUMBING EQUIPMENT INVENTORY | Glycol Tank | MD66-177 | GCT-2 | Mechanical Rm. | Armstrong | GLA-S-HP | ?
B572 | MD066 |  | CIRCULATING PUMP INVENTORY | Cooling Tower Pump | MD66-178 | LP-1 | Mechanical Rm. | Armstrong | 3X2X10-4030 | 8455744
B572 | MD066 |  | CIRCULATING PUMP INVENTORY | Cooling Tower Pump | MD66-179 | LP-2 | Mechanical Rm. | Armstrong | 3X2X10-4030 | 8455745
B581 | MD066 |  | BOILER INVENTORY | Boiler #1 | MD66-180 | Blr-1 | Mechanical Rm. | CAMUS | DMNH-0291-MSI | 11825971
B581 | MD066 |  | BOILER INVENTORY | Boiler #2 | MD66-181 | Blr-2 | Mechanical Rm. | CAMUS | DMNH-0291-MSI | 11825972
B581 | MD066 |  | BOILER INVENTORY | Boiler-#3 | MD66-182 | Blr-3 | Mechanical Rm. | CAMUS | 0291-MSI-HLS | 11815973
B569 | MD066 |  | PLUMBING EQUIPMENT INVENTORY | Air Seperator | MD66-183 | AS-2 | Mechanical Rm.
B569 | MD066 |  | PLUMBING EQUIPMENT INVENTORY | Expansion Tank #1 | MD66-184 | ET-1 | Mechanical Rm.
B569 | MD066 |  | PLUMBING EQUIPMENT INVENTORY | Expansion Tank #2 | MD66-185 | ET-2 | Mechanical Rm. | Armstrand
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Filter Bank | MD66-186 | FB-1 | Mechanical Rm. | Aldes
B580 | MD066 |  | BACKFLOW PREVENTER INVENTORY | Backflow 1 1/4" | MD66-187 | BF-1 1/4" | Mechanical Rm. | Apollo
B580 | MD066 |  | BACKFLOW PREVENTER INVENTORY | Backflow 4" | MD66-188 | BF-4" | Mechanical Rm. | Apollo
B569 | MD066 |  | PLUMBING EQUIPMENT INVENTORY | Supply & Return Control Valve 1 | MD66-189 | SRCV-#1 | Mechanical Rm. | Keystone
B569 | MD066 |  | PLUMBING EQUIPMENT INVENTORY | Supply & Return Control Valve 2 | MD66-190 | SRCV_#2 | Mechanical Rm. | Keystone
B549 | MD066 |  | FAN COILS AND UNIT HEATER INVENTORY | Unit Heater-#2 | MD66-191 | UH-#2 | Mechanical Rm.
B557 | MD066 |  | HVAC EMS INVENTORY | EMS | MD66-192 | EMS-#1 | Mechanical Rm.
B569 | MD066 |  | PLUMBING EQUIPMENT INVENTORY | Chemical Feeder | MD66-193 | CF-#1 | Mechanical Rm. | Elbzi
B569 | MD066 |  | PLUMBING EQUIPMENT INVENTORY | Chemical Station for Cooling Twr. | MD66-194 | CFS-#1 | Mechanical Rm.
B572 | MD066 |  | CIRCULATING PUMP INVENTORY | Cooling Tower chem.Pump Motor #1 | MD66-195 | CTP-#1 | Cooling Tower
B572 | MD066 |  | CIRCULATING PUMP INVENTORY | Cooling Tower Chemical Pump #1 | MD66-196 | CTCP-#1 | Cooling Tower
B544 | MD066 |  | HVAC WATER DISTRIBUTION SYSTEM INVENTORY | Cooling Tower | MD66-197 | CT-#1 | Cooling Tower
B544 | MD066 |  | HVAC WATER DISTRIBUTION SYSTEM INVENTORY | VFD Cooling Tower | MD66-198 | VFD-#1 | Cooling Tower
B578 | MD066 |  | LIGHTNING ROD -GROUNDING DEVICES INVENTORY | Grounding BUS bar | MD66-199 | GBB-#1 | Rm. 108
B597 | MD066 |  | VAULT INVENTORY | Syp Vault | MD66-200 |  | Rm. 108
B597 | MD066 |  | VAULT INVENTORY | Arms Vault | MD66-201 |  | Rm. 121
B559 | MD066 |  | SECURITY SYSTEMS AND EQUIPMENT INVENTORY | Advantor-#1 | MD66-202 |  | Rm. 121
B559 | MD066 |  | SECURITY SYSTEMS AND EQUIPMENT INVENTORY | Advantor-#2 | MD66-203 |  | Rm. 121
B559 | MD066 |  | SECURITY SYSTEMS AND EQUIPMENT INVENTORY | Attronix-#1 | MD66-204 |  | Rm. 121
B555 | MD066 |  | DEHUMIDIFIER INVENTORY | Dehumidifier- Vault | MD66-205 | DH-#1 | Rm. 121
B559 | MD066 |  | SECURITY SYSTEMS AND EQUIPMENT INVENTORY | Vault Motion Sensor | MD66-206 | VMS-1 | Rm. 121
B559 | MD066 |  | SECURITY SYSTEMS AND EQUIPMENT INVENTORY | Vault Motion Sensor | MD66-207 | VMS-2 | Rm. 121
B559 | MD066 |  | SECURITY SYSTEMS AND EQUIPMENT INVENTORY | Vault Motion Sensor | MD66-208 | VMS-3 | Rm. 121
B559 | MD066 |  | SECURITY SYSTEMS AND EQUIPMENT INVENTORY | Vault Motion Sensor | MD66-209 | VMS-4 | Rm. 121
B559 | MD066 |  | SECURITY SYSTEMS AND EQUIPMENT INVENTORY | Vault Motion Sensor | MD66-210 | VMS-5 | Rm. 121
B559 | MD066 |  | SECURITY SYSTEMS AND EQUIPMENT INVENTORY | Vault Motion Sensor | MD66-211 | VMS-6 | Rm. 121
B559 | MD066 |  | SECURITY SYSTEMS AND EQUIPMENT INVENTORY | Vault Motion Sensor | MD66-212 | VMS-7 | Rm. 121
B559 | MD066 |  | SECURITY SYSTEMS AND EQUIPMENT INVENTORY | Vault Motion Sensor | MD66-213 | VMS-8 | Rm. 121
B559 | MD066 |  | SECURITY SYSTEMS AND EQUIPMENT INVENTORY | Vault Motion Sensor | MD66-214 | VMS-9 | Rm. 121
B559 | MD066 |  | SECURITY SYSTEMS AND EQUIPMENT INVENTORY | Vault Motion Sensor | MD66-215 | VMS-10 | Rm. 121
B559 | MD066 |  | SECURITY SYSTEMS AND EQUIPMENT INVENTORY | Vault Motion Sensor | MD66-216 | VMS-11 | Rm. 121
B559 | MD066 |  | SECURITY SYSTEMS AND EQUIPMENT INVENTORY | Vault Motion Sensor | MD66-217 | VMS-12 | Rm. 121
B559 | MD066 |  | SECURITY SYSTEMS AND EQUIPMENT INVENTORY | Vault Motion Sensor | MD66-218 | VMS-13 | Rm. 121
B594 | MD066 |  | OVERHEAD DOOR INVENTORY | Garage Door | MD66-219 |  | Staging Area /U.S.
B549 | MD066 |  | FAN COILS AND UNIT HEATER INVENTORY | Radiant Heater | MD66-220 | RH-#1 | Staging Area /U.S.
B548 | MD066 |  | EXHAUST AND TRANSFER FAN INVENTORY | Exhaust Fan | MD66-221 | EF-2 | Storage | Greenheck
B548 | MD066 |  | EXHAUST AND TRANSFER FAN INVENTORY | Exhaust Fan | MD66-222 | EF-3 | Storage | Greenheck
B549 | MD066 |  | FAN COILS AND UNIT HEATER INVENTORY | Cabinet unit Heater | MD66-223 | HP-1-25 | Corridor C102
B549 | MD066 |  | FAN COILS AND UNIT HEATER INVENTORY | Cabinet Unit Heater | MD66-224 | HP-1-26 | Vestibule 100
B549 | MD066 |  | FAN COILS AND UNIT HEATER INVENTORY | Cabinet Unit Heater | MD66-225 | HP-1-27 | Corridor C103
B549 | MD066 |  | FAN COILS AND UNIT HEATER INVENTORY | Cabinet Unit Heater | MD66-226 | HP-1-28 | Stair A
B549 | MD066 |  | FAN COILS AND UNIT HEATER INVENTORY | Cabinet Unit Heater | MD66-227 | HP-1-29 | Stair B
B552 | MD066 |  | Motorized Damper | Louver | MD66-237 | L-1
B552 | MD066 |  | Motorized Damper | Louver | MD66-238 | L-2
B552 | MD066 |  | Motorized Damper | Louver | MD66-239 | L-3
B552 | MD066 |  | Motorized Damper | Louver | MD66-240 | L-4
B552 | MD066 |  | Motorized Damper | Louver | MD66-241 | L-5
B552 | MD066 |  | Motorized Damper | Louver Unheated Storage | MD66-242 | L-UHS-1 | Unheated Storage
B552 | MD066 |  | Motorized Damper | Louver Unheated Storage | MD66-243 | L-UHS-2 | Unheated Storage
B553 | MD066 |  | CONDENSATE PUMP INVENTORY | Condensate Pump | MD66-244 | CP-#1
B563 | MD066 |  | COMPRESSED AIR SYSTEMS (FIXED TO BUILDING) INVENTORY | Air Compressor O.M.S. | MD66-245 | AC-#1 | O.M.S. Mech. Rm. 308
B552 | MD066 |  | VARIABLE AIR VOLUME (VAV) AND OTHER BOX INVENTORY | Variable Air Volume | MD66-246 | VAV-1 | [5 empty] | Serves HP1-16
B552 | MD066 |  | VARIABLE AIR VOLUME (VAV) AND OTHER BOX INVENTORY | Constant Air Volume | MD66-247 | CAV-2 | [5 empty] | Serves HP1-14
B552 | MD066 |  | VARIABLE AIR VOLUME (VAV) AND OTHER BOX INVENTORY | Constant Air Volume | MD66-248 | CAV-3 | [5 empty] | Serves HP1-15
B552 | MD066 |  | VARIABLE AIR VOLUME (VAV) AND OTHER BOX INVENTORY | Constant Air Volume | MD66-249 | CAV-4 | [5 empty] | Serves Rm. 106, 110, 111
B552 | MD066 |  | VARIABLE AIR VOLUME (VAV) AND OTHER BOX INVENTORY | Variable Air Volume | MD66-250 | VAV-5 | [5 empty] | Serves Rm. 108
B552 | MD066 |  | VARIABLE AIR VOLUME (VAV) AND OTHER BOX INVENTORY | Variable Air Volume | MD66-251 | VAV-6 | [5 empty] | Serves Rm. 109
B552 | MD066 |  | VARIABLE AIR VOLUME (VAV) AND OTHER BOX INVENTORY | Variable Air Volume | MD66-252 | VAV-7 | [5 empty] | Serves Rm.105A
B552 | MD066 |  | VARIABLE AIR VOLUME (VAV) AND OTHER BOX INVENTORY | Variable Air Volume | MD66-253 | VAV-8 | [5 empty] | Serves Rm. 105B
B552 | MD066 |  | VARIABLE AIR VOLUME (VAV) AND OTHER BOX INVENTORY | Variable Air Volume | MD66-254 | VAV-9 | [5 empty] | Serves Rm. 107A
B552 | MD066 |  | VARIABLE AIR VOLUME (VAV) AND OTHER BOX INVENTORY | Variable Air Volume | MD66-255 | VAV-10 | [5 empty] | Serves Rm. 107B
B552 | MD066 |  | VARIABLE AIR VOLUME (VAV) AND OTHER BOX INVENTORY | Constant Air Volume | MD66-256 | CAV-11 | [5 empty] | Serves Rm. 100, 101, 102, 103A
B552 | MD066 |  | VARIABLE AIR VOLUME (VAV) AND OTHER BOX INVENTORY | Variable Air Volume | MD66-257 | VAV-12 | [5 empty] | Serves Rm.116
B552 | MD066 |  | VARIABLE AIR VOLUME (VAV) AND OTHER BOX INVENTORY | Constant Air Volume | MD66-258 | CAV-13 | [5 empty] | Serves C. 100, C101
B552 | MD066 |  | VARIABLE AIR VOLUME (VAV) AND OTHER BOX INVENTORY | Constant Air Volume | MD66-259 | CAV-14 | [5 empty] | Serves Rm. 123, 130
B552 | MD066 |  | VARIABLE AIR VOLUME (VAV) AND OTHER BOX INVENTORY | Constant Air Volume | MD66-260 | CAV-15 | [5 empty] | Serves HP2-16, 2-17
B552 | MD066 |  | VARIABLE AIR VOLUME (VAV) AND OTHER BOX INVENTORY | Variable Air Volume | MD66-261 | VAV-16 | [5 empty] | Serves Rm205, 206
B552 | MD066 |  | VARIABLE AIR VOLUME (VAV) AND OTHER BOX INVENTORY | Constant Air Volume | MD66-262 | CAV-17 | [5 empty] | Serves HP2-8, 2-9, 2-10
B552 | MD066 |  | VARIABLE AIR VOLUME (VAV) AND OTHER BOX INVENTORY | Constant Air Volume | MD66-263 | CAV-18 | [5 empty] | Serves HP2-5, HP2-7, HP2-13
B552 | MD066 |  | VARIABLE AIR VOLUME (VAV) AND OTHER BOX INVENTORY | Constant Air Volume | MD66-264 | CAV-19 | [5 empty] | Serves HP2-1, 2-2, 2-3, 2-4, 2-6
B552 | MD066 |  | VARIABLE AIR VOLUME (VAV) AND OTHER BOX INVENTORY | Variable Air Volume | MD66-265 | VAV-20 | [5 empty] | Serves Rm. 204
B552 | MD066 |  | VARIABLE AIR VOLUME (VAV) AND OTHER BOX INVENTORY | Constant Air Volume | MD66-266 | CAV-21 | [5 empty] | Serves HP2-198, 2-20, 2-21
B552 | MD066 |  | VARIABLE AIR VOLUME (VAV) AND OTHER BOX INVENTORY | Constant Air Volume | MD66-267 | CAV-22 | [5 empty] | Serves HP2-33, 2-34, 2-35
B552 | MD066 |  | VARIABLE AIR VOLUME (VAV) AND OTHER BOX INVENTORY | Constant Air Volume | MD66-268 | CAV-23 | [5 empty] | Serves HP2-22, 2-23
B552 | MD066 |  | VARIABLE AIR VOLUME (VAV) AND OTHER BOX INVENTORY | Constant Air Volume | MD66-269 | CAV-24 | [5 empty] | Serves HP2-30, 2-32
B552 | MD066 |  | VARIABLE AIR VOLUME (VAV) AND OTHER BOX INVENTORY | Constant Air Volume | MD66-270 | CAV-25 | [5 empty] | Serves HP2-24, 2-25, 2-26
B552 | MD066 |  | VARIABLE AIR VOLUME (VAV) AND OTHER BOX INVENTORY | Constant Air Volume | MD66-271 | CAV-26 | [5 empty] | Serves HP2-27, 2-28
B552 | MD066 |  | VARIABLE AIR VOLUME (VAV) AND OTHER BOX INVENTORY | Constant Air Volume | MD66-272 | CAV-27 | [5 empty] | Serves HP2-29, 2-31
B552 | MD066 |  | VARIABLE AIR VOLUME (VAV) AND OTHER BOX INVENTORY | Variable Air Volume | MD66-273 | VAV-28 | [5 empty] | Serves Rm. 269
B552 | MD066 |  | VARIABLE AIR VOLUME (VAV) AND OTHER BOX INVENTORY | Variable Air Volume | MD66-274 | VAV-30 | [5 empty] | Serves 120
B548 | MD066 |  | EXHAUST AND TRANSFER FAN INVENTORY | Constant Exhaust Volume | MD66-275 | CEV-1 | [5 empty] | Serves G106, G108
B548 | MD066 |  | EXHAUST AND TRANSFER FAN INVENTORY | Constant Exhaust Volume | MD66-276 | CEV-2 | [5 empty] | Serves G103, G105
B548 | MD066 |  | EXHAUST AND TRANSFER FAN INVENTORY | Constant Exhaust Volume | MD66-278 | CEV-3 | [5 empty] | Serves G100, G101, G102, G112
B548 | MD066 |  | EXHAUST AND TRANSFER FAN INVENTORY | Constant Exhaust Volume | MD66-279 | CEV-4 | [5 empty] | Serves 121
B548 | MD066 |  | EXHAUST AND TRANSFER FAN INVENTORY | Constant Exhaust Volume | MD66-280 | CEV-5 | [5 empty] | Serves 118, 150
B548 | MD066 |  | EXHAUST AND TRANSFER FAN INVENTORY | Variable Exhaust Volume | MD66-281 | VEV-6 | [5 empty] | Serves G103,
B548 | MD066 |  | EXHAUST AND TRANSFER FAN INVENTORY | Constant Exhaust Volume | MD66-282 | CEV-7 | [5 empty] | Serves G200, G201, 201
B548 | MD066 |  | EXHAUST AND TRANSFER FAN INVENTORY | Variable Exhaust Volume | MD66-283 | VEV-9 | [5 empty] | Serves C206
B548 | MD066 |  | EXHAUST AND TRANSFER FAN INVENTORY | Variable Exhaust Volume | MD66-284 | VEV-10 | [5 empty] | Serves C204
B548 | MD066 |  | EXHAUST AND TRANSFER FAN INVENTORY | Variable Exhaust Volume | MD66-285 | VEV-11 | [5 empty] | Serves 204
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Dedicated Outdoor Air System | MD66-286 | DOAS-1
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Mixed Air Unit | MD66-287 | MAU-Ark
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Mixed Air Unit OMS | MD66-288 | MAU-OMS
B548 | MD066 |  | EXHAUST AND TRANSFER FAN INVENTORY | Exhaust Fan OMS | MD66-289 | EF-OMS-1 |  | Greenheck
B548 | MD066 |  | EXHAUST AND TRANSFER FAN INVENTORY | Exhaust Fan OMS | MD66-290 | EF-OMS-2 |  | Greenheck
B548 | MD066 |  | EXHAUST AND TRANSFER FAN INVENTORY | Exhaust Fan OMS | MD66-291 | EF-OMS-3 |  | Greenheck
B548 | MD066 |  | EXHAUST AND TRANSFER FAN INVENTORY | Exhaust Fan OMS | MD66-292 | EF-OMS-4 |  | Greenheck
B548 | MD066 |  | EXHAUST AND TRANSFER FAN INVENTORY | Exhaust Fan OMS | MD66-293 | EF-OMS-5 |  | Greenheck
B548 | MD066 |  | EXHAUST AND TRANSFER FAN INVENTORY | Exhaust Fan OMS | MD66-294 | EF-OMS-6 |  | Greenheck
B548 | MD066 |  | EXHAUST AND TRANSFER FAN INVENTORY | Exhaust Fan OMS | MD66-295 | EF-OMS-7 |  | Greenheck
B548 | MD066 |  | EXHAUST AND TRANSFER FAN INVENTORY | Welding Exhaust Fan OMS | MD66-296 | WE-OMS-1
B549 | MD066 |  | FAN COILS AND UNIT HEATER INVENTORY | Infrared Heater OMS | MD66-297 | IH-OMS-1
B549 | MD066 |  | FAN COILS AND UNIT HEATER INVENTORY | Infrared Heater OMS | MD66-298 | IH-OMS-2
B599 | MD066 |  | VEHICLE EXHAUST SYSTEM INVENTORY | Vehicle Exhaust OMS | MD66-299 | VE-OMS-1
B599 | MD066 |  | VEHICLE EXHAUST SYSTEM INVENTORY | Vehicle Exhaust OMS | MD66-300 | VE-OMS-2
B599 | MD066 |  | VEHICLE EXHAUST SYSTEM INVENTORY | Vehicle Exhaust OMS | MD66-301 | VE-OMS-3
B599 | MD066 |  | VEHICLE EXHAUST SYSTEM INVENTORY | Vehicle Exhaust OMS | MD66-302 | VE-OMS-4
B556 | MD066 |  | MINI SPLIT INVENTORY | Mini Split System OMS | MD66-303 | SS-OMS-ICU
B555 | MD066 |  | DEHUMIDIFIER INVENTORY | Dehumidifier OMS | MD66-304 | DH-OMS-1
B549 | MD066 |  | FAN COILS AND UNIT HEATER INVENTORY | Electric Unit Heater OMS | MD66-305 | EUH-OMS-1
B549 | MD066 |  | FAN COILS AND UNIT HEATER INVENTORY | Electric Unit Heater OMS | MD66-306 | EHU-OMS-2
B594 | MD066 |  | OVERHEAD DOOR INVENTORY | Garage Door OMS | MD66-307 | GD-OMS-1
B594 | MD066 |  | OVERHEAD DOOR INVENTORY | Garage Door OMS | MD66-308 | GD-OMS-1
B552 | MD066 |  | Motorized Damper | Motorized Damper OMS | MD66-309 | MD-OMS-1
B552 | MD066 |  | Motorized Damper | Motorized Damper OMS | MD66-310 | MD-OMS-2
B552 | MD066 |  | Motorized Damper | Motorized Damper OMS | MD66-311 | MD-OMS-3
B552 | MD066 |  | Motorized Damper | Motorized Damper OMS | MD66-312 | MD-OMS-4
B552 | MD066 |  | Motorized Damper | Motorized Damper OMS | MD66-313 | MD-OMS-5
B552 | MD066 |  | Motorized Damper | Motorized Damper OMS | MD66-314 | MD-OMS-6
B552 | MD066 |  | Motorized Damper | Motorized Damper OMS | MD66-315 | MD-OMS-7
B552 | MD066 |  | Motorized Damper | Motorized Damper OMS | MD66-316 | MD-OMS-8
B552 | MD066 |  | Motorized Damper | Motorized Damper OMS | MD66-317 | MD-OMS-9
B552 | MD066 |  | Motorized Damper | Motorized Damper OMS | MD66-318 | MD-OMS-10
B552 | MD066 |  | Motorized Damper | Motorized Damper OMS | MD66-319 | MD-OMS-11
B552 | MD066 |  | Motorized Damper | Motorized Damper OMS | MD66-320 | MD-OMS-12
B547 | MD066 |  | FURNACE INVENTORY | FURNACE-OMS | MD66-321 | F-OMS-ICU 1
B552 | MD066 |  | Motorized Damper | Louvers OMS | MD66-322 | L-OMS-1
B552 | MD066 |  | Motorized Damper | Louvers OMS | MD66-323 | L-OMS-2
B552 | MD066 |  | Motorized Damper | Louvers OMS | MD66-324 | L-OMS-3
B544 | MD066 |  | HVAC AND REFRIGERATION SYSTEM INVENTORY | Make Up Air Unit OMS | MD66-325 | MAU-OMS-2
B579/B568 | MD066 |  | Overhead Crane Inventory | Overhead Crane OMS | MD66-326 | OHC-OMS-1
B569 | MD066 |  | PLUMBING EQUIPMENT INVENTORY | Eye Wash Station OMS | MD66-327 | EWS-OMS-1
B569 | MD066 |  | PLUMBING EQUIPMENT INVENTORY | Thermostatic Mixing Valve OMS 1 | MD66-328 | TMV-OMS-1
B569 | MD066 |  | PLUMBING EQUIPMENT INVENTORY | Thermostatic Mixing Valve OMS 2 | MD66-329 | TMV-OMS-2
B595 | MD066 |  | AUTOMATED ACCESS CONTROL SYSTEM INVENTORY | Security Access Barrier/Arm | MD66-330 | SAB-1
B595 | MD066 |  | AUTOMATED ACCESS CONTROL SYSTEM INVENTORY | Card Reader | MD66-331 | CAC-1 | Main Entrance, T.C.
B595 | MD066 |  | AUTOMATED ACCESS CONTROL SYSTEM INVENTORY | Card Reader | MD66-332 | CAC-2 | Security Barrier Arm
B595 | MD066 |  | AUTOMATED ACCESS CONTROL SYSTEM INVENTORY | Card Reader | MD66-333 | CAC-3 | Assembly Hall
B595 | MD066 |  | AUTOMATED ACCESS CONTROL SYSTEM INVENTORY | Card Reader | MD66-334 | CAC-4 | Staging Area, H.C.
B595 | MD066 |  | AUTOMATED ACCESS CONTROL SYSTEM INVENTORY | Card Reader | MD66-335 | CAC-5 | O.M.S. Main Ent.
B595 | MD066 |  | AUTOMATED ACCESS CONTROL SYSTEM INVENTORY | Card Reader | MD66-336 | CAC-6 | O.M.S. Garage Door
B595 | MD066 |  | AUTOMATED ACCESS CONTROL SYSTEM INVENTORY | Card Reader | MD66-337 | CAC-7 | O.M.S. Garage Door
B595 | MD066 |  | AUTOMATED ACCESS CONTROL SYSTEM INVENTORY | Security Access Phone #1 | MD66-338 | SAP-1 | Main Entrance
B595 | MD066 |  | AUTOMATED ACCESS CONTROL SYSTEM INVENTORY | Security Access Phone #2 | MD66-339 | SAP-1 | Security Barrier Arm
B552 | MD066 |  | Motorized Damper- Variable Air Volume (VAV) and Other Boxes | Motorized Damper | MD66-340 | MD-#1
B552 | MD066 |  | Motorized Damper | Motorized Damper | MD66-341 | MD-#2
B552 | MD066 |  | Motorized Damper | Motorized Damper | MD66-342 | MD-#3
B552 | MD066 |  | Motorized Damper | Motorized Damper | MD66-343 | MD-#4
B552 | MD066 |  | Motorized Damper | Motorized Damper | MD66-344 | MD-#5
B552 | MD066 |  | Motorized Damper | Motorized Damper | MD66-345 | MD-#6
B552 | MD066 |  | Motorized Damper | Motorized Damper | MD66-346 | MD-#7
B552 | MD066 |  | Motorized Damper | Motorized Damper/U.H.S. | MD66-347 | MDUHS-#1 | Unheated Storage
B552 | MD066 |  | Motorized Damper | Motorized Damper/U.H.S. | MD66-348 | MDUHS-#2 | Unheated Storage
B585 | MD066 |  | PRIVATELY OWNED VEHICLE (POV) PARKING AREA LIGHTS INVENTORY | Single Light, Pole Mounted POV | MD66-349 | POV-1 | Front sidewalk | Lumiere
B585 | MD066 |  | PRIVATELY OWNED VEHICLE (POV) PARKING AREA LIGHTS INVENTORY | Single Light, Pole Mounted POV | MD66-350 | POV-2 | Front sidewalk | Lumiere
B585 | MD066 |  | PRIVATELY OWNED VEHICLE (POV) PARKING AREA LIGHTS INVENTORY | Single Light, Pole Mounted POV | MD66-351 | POV-3 | Front Parking Lot | Lumiere
B585 | MD066 |  | PRIVATELY OWNED VEHICLE (POV) PARKING AREA LIGHTS INVENTORY | Single Light, Pole Mounted POV | MD66-352 | POV-4 | Front Parking Lot | Lumiere
B585 | MD066 |  | PRIVATELY OWNED VEHICLE (POV) PARKING AREA LIGHTS INVENTORY | Single Light, Pole Mounted POV | MD66-353 | POV-5 | Front Parking Lot | Lumiere
B585 | MD066 |  | PRIVATELY OWNED VEHICLE (POV) PARKING AREA LIGHTS INVENTORY | Single Light, Pole Mounted POV | MD66-354 | POV-6 | Front Parking Lot | Lumiere
B585 | MD066 |  | PRIVATELY OWNED VEHICLE (POV) PARKING AREA LIGHTS INVENTORY | Single Light, Pole Mounted POV | MD66-355 | POV-7 | Front Parking Lot | Lumiere
B585 | MD066 |  | PRIVATELY OWNED VEHICLE (POV) PARKING AREA LIGHTS INVENTORY | Single Light, Pole Mounted POV | MD66-356 | POV-8 | Front Parking Lot | Lumiere
B585 | MD066 |  | PRIVATELY OWNED VEHICLE (POV) PARKING AREA LIGHTS INVENTORY | Single Light, Pole Mounted POV | MD66-357 | POV-9 | Front Parking Lot | Lumiere
B585 | MD066 |  | PRIVATELY OWNED VEHICLE (POV) PARKING AREA LIGHTS INVENTORY | Single Light, Pole Mounted POV | MD66-358 | POV-10 | Front Parking Lot | Lumiere
B585 | MD066 |  | PRIVATELY OWNED VEHICLE (POV) PARKING AREA LIGHTS INVENTORY | Single Light, Pole Mounted POV | MD66-359 | POV-11 | Front Parking Lot | Lumiere
B585 | MD066 |  | PRIVATELY OWNED VEHICLE (POV) PARKING AREA LIGHTS INVENTORY | Single Light, Pole Mounted POV | MD66-360 | POV-12 | Rear Parking Lot | Lumiere
B585 | MD066 |  | PRIVATELY OWNED VEHICLE (POV) PARKING AREA LIGHTS INVENTORY | Single Light, Pole Mounted POV | MD66-361 | POV-13 | Rear Parking Lot | Lumiere
B585 | MD066 |  | PRIVATELY OWNED VEHICLE (POV) PARKING AREA LIGHTS INVENTORY | Single Light, Pole Mounted POV | MD66-362 | POV-14 | Rear Parking Lot | Lumiere
B585 | MD066 |  | PRIVATELY OWNED VEHICLE (POV) PARKING AREA LIGHTS INVENTORY | Single Light, Pole Mounted POV | MD66-363 | POV-15 | Rear Parking Lot | Lumiere
B585 | MD066 |  | PRIVATELY OWNED VEHICLE (POV) PARKING AREA LIGHTS INVENTORY | Single Light, Pole Mounted POV | MD66-364 | POV-16 | Rear Sidewalk | Lumiere
B585 | MD066 |  | PRIVATELY OWNED VEHICLE (POV) PARKING AREA LIGHTS INVENTORY | Single Light, Pole Mounted POV | MD66-365 | POV-17 | Rear Sidewalk | Lumiere
B585 | MD066 |  | PRIVATELY OWNED VEHICLE (POV) PARKING AREA LIGHTS INVENTORY | Single Light, Pole Mounted POV | MD66-366 | POV-18 | Rear Sidewalk | Lumiere
B586 | MD066 |  | MILITARY EQUIPMENT PARKING LIGHT INVENTORY | Single Light, Pole Mounted MEP | MD66-367 | MEP-1 | Secured Parking Lot | Lumiere
B586 | MD066 |  | MILITARY EQUIPMENT PARKING LIGHT INVENTORY | Single Light, Pole Mounted MEP | MD66-368 | MEP-2 | Secured Parking Lot | Lumiere
B586 | MD066 |  | MILITARY EQUIPMENT PARKING LIGHT INVENTORY | Single Light, Pole Mounted MEP | MD66-369 | MEP-3 | Secured Parking Lot | Lumiere
B586 | MD066 |  | MILITARY EQUIPMENT PARKING LIGHT INVENTORY | Single Light, Pole Mounted MEP | MD66-370 | MEP-4 | Secured Parking Lot | Lumiere
B586 | MD066 |  | MILITARY EQUIPMENT PARKING LIGHT INVENTORY | Single Light, Pole Mounted MEP | MD66-371 | MEP-5 | Secured Parking Lot | Lumiere
B586 | MD066 |  | MILITARY EQUIPMENT PARKING LIGHT INVENTORY | Single Light, Pole Mounted MEP | MD66-372 | MEP-6 | Secured Parking Lot | Lumiere
B586 | MD066 |  | MILITARY EQUIPMENT PARKING LIGHT INVENTORY | Single Light, Pole Mounted MEP | MD66-373 | MEP-7 | Secured Parking Lot | Lumiere
B586 | MD066 |  | MILITARY EQUIPMENT PARKING LIGHT INVENTORY | Double Light, Pole Mounted MEP | MD66-374 | MEP-8 | Secured Parking Lot | Lumiere
B585 | MD066 |  | PRIVATELY OWNED VEHICLE (POV) PARKING AREA LIGHTS INVENTORY | Flag Pole Ligts, In Ground | MD66-375 | FPL-1 | Flag Pole, Main Ent. | Kim Lighting
B585 | MD066 |  | PRIVATELY OWNED VEHICLE (POV) PARKING AREA LIGHTS INVENTORY | Flag Pole Ligts, In Ground | MD66-376 | FPL-2 | Flag Pole, Main Ent. | Kim Lighting
B585 | MD066 |  | PRIVATELY OWNED VEHICLE (POV) PARKING AREA LIGHTS INVENTORY | Flag Pole Ligts, In Ground | MD66-377 | FPL-3 | Flag Pole, Main Ent. | Kim Lighting
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Urinal, Auto Flush | MD66-378 | UAF-1
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Urinal, Auto Flush | MD66-379 | UAF-2
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Urinal, Auto Flush | MD66-380 | UAF-3
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Urinal, Auto Flush | MD66-381 | UAF-4
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Urinal, Auto Flush | MD66-382 | UAF-5
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Urinal, Auto Flush | MD66-383 | UAF-6
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Urinal, Auto Flush | MD66-384 | UAF-7
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Toilet, Auto Flush | MD66-385 | TAF-8
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Toilet, Auto Flush | MD66-386 | TAF-9
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Toilet, Auto Flush | MD66-387 | TAF-10
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Toilet, Auto Flush | MD66-388 | TAF-11
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Toilet, Auto Flush | MD66-389 | TAF-12
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Toilet, Auto Flush | MD66-390 | TAF-13
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Toilet, Auto Flush | MD66-391 | TAF-14
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Toilet, Auto Flush | MD66-392 | TAF-15
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Toilet, Auto Flush | MD66-393 | TAF-16
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Toilet, Auto Flush | MD66-394 | TAF-17
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Toilet, Auto Flush | MD66-395 | TAF-18
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Toilet, Auto Flush | MD66-396 | TAF-19
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Toilet, Auto Flush | MD66-397 | TAF-20
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Toilet, Auto Flush | MD66-398 | TAF-21
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Toilet, Auto Flush | MD66-399 | TAF-22
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Toilet, Auto Flush | MD66-400 | TAF-23
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Toilet, Auto Flush | MD66-401 | TAF-24
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Toilet, Auto Flush OMS | MD66-402 | TAF-OMS-1
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Toilet, Auto Flush OMS | MD66-403 | TAF-OMS-2
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Sink w/Auto Faucet | MD66-404
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Sink w/Auto Faucet | MD66-405
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Sink w/Auto Faucet | MD66-406
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Sink w/Auto Faucet | MD66-407
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Sink w/Auto Faucet | MD66-408
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Sink w/Auto Faucet | MD66-409
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Sink w/Auto Faucet | MD66-410
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Sink w/Auto Faucet | MD66-411
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Sink w/Auto Faucet | MD66-412
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Sink w/Auto Faucet | MD66-413
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Sink w/Auto Faucet | MD66-414
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Sink w/Auto Faucet | MD66-415
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Sink w/Auto Faucet | MD66-416
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Sink w/Auto Faucet | MD66-417
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Sink w/Auto Faucet | MD66-418
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Sink w/Auto Faucet | MD66-419
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Sink w/Auto Faucet | MD66-420
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Sink w/Auto Faucet | MD66-421
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Sink w/Auto Faucet | MD66-422
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Sink w/Auto Faucet OMS | MD66-423
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Sink w/Auto Faucet OMS | MD66-424
B570 | MD066 |  | ARMY RESERVE FACILITY KITCHEN EQUIPMENT INVENTORY | Kitchen Sink, Double | MD66-425
B570 | MD066 |  | ARMY RESERVE FACILITY KITCHEN EQUIPMENT INVENTORY | Kitchen Sink, Double | MD66-426
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Sink, OMS, Hand Washing Station | MD66-427
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Shower, OMS, Emergency | MD66-428
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Shower, Handicapped | MD66-429
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Shower, Handicapped | MD66-430
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Shower | MD66-431
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Shower | MD66-432
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Shower | MD66-433
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Shower | MD66-434
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Shower | MD66-435
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Shower | MD66-436
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Shower | MD66-437
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Shower | MD66-438
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Shower | MD66-439
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Shower | MD66-440
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Shower | MD66-441
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Shower | MD66-442
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Shower | MD66-443
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Shower | MD66-444
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Shower | MD66-445
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Shower | MD66-446
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Shower | MD66-447
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Shower | MD66-448
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Water Fountain | MD66-449 | WF-1
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Water Fountain | MD66-450 | WF-2
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Water Fountain | MD66-451 | WF-3
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Water Fountain | MD66-452 | WF-4
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Water Fountain | MD66-453 | WF-5
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Water Fountain | MD66-454 | WF-6
B567 | MD066 |  | ARMY RESERVE FACILITY KITCHEN EQUIPMENT INVENTORY | Microwave | MD66-455
B567 | MD066 |  | ARMY RESERVE FACILITY KITCHEN EQUIPMENT INVENTORY | Microwave | MD66-456
B567 | MD066 |  | ARMY RESERVE FACILITY KITCHEN EQUIPMENT INVENTORY | Microwave | MD66-457
B567 | MD066 |  | ARMY RESERVE FACILITY KITCHEN EQUIPMENT INVENTORY | Microwave OMS. | MD66-458
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #01 | MD66-459 | T-stat-#01 | [5 empty] | Located: Lobby
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #02 | MD66-460 | T-stat-#02 | [5 empty] | Located: Rm. 100
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #03 | MD66-461 | T-stat-#03 | [5 empty] | Located: Rm. 101
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #04 | MD66-462 | T-stat-#04 | [5 empty] | Located: Rm. 103A
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #06 | MD66-463 | T-stat-#06 | [5 empty] | Located: Rm. 105A
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #07 | MD66-464 | T-stat-#07 | [5 empty] | Located: Rm. 105B
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #08 | MD66-465 | T-stat-#08 | [5 empty] | Located: Rm. 107A
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #09 | MD66-466 | T-stat-#09 | [5 empty] | Located: Rm. 107B
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #10 | MD66-467 | T-stat-#10 | [5 empty] | Located: Rm. 108
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #11 | MD66-468 | T-stat-#11 | [5 empty] | Located: Rm. 109
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #05 | MD66-469 | T-stat-#05 | [5 empty] | Located: Rm. 106
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #12 | MD66-470 | T-stat-#12 | [5 empty] | Located: Rm. 111
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #13 | MD66-471 | T-stat-#13 | [5 empty] | Located: Rm. 110
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #14 | MD66-472 | T-stat-#14 | [5 empty] | Located: Rm. G104 Male Locker Rm.
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #15 | MD66-473 | T-stat-#15 | [5 empty] | Located: Rm. G107 Female Locker Rm.
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #16 | MD66-474 | T-stat-#16 | [5 empty] | Located: Rm. 115 Gym
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #18 | MD66-475 | T-stat-#18 | [5 empty] | Located: Rm. 120
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #19 | MD66-476 | T-stat-#19 | [5 empty] | Located: Rm 123
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #20 | MD66-477 | T-stat-#20 | [5 empty] | Located: Rm. 128
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #21 | MD66-478 | T-stat-#21 | [5 empty] | Located: Rm. 130
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #22 | MD66-479 | T-stat-#22 | [5 empty] | Located: Rm. 119
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #23 | MD66-480 | T-stat-#23 | [5 empty] | Located: Rm. EF-123
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #24 | MD66-481 | T-stat-#24 | [5 empty] | Located: Rm. 132
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #25 | MD66-482 | T-stat-#25 | [5 empty] | Located: Rm. 200A
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #26 | MD66-483 | T-stat-#26 | [5 empty] | Located: Rm. 200E
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #27 | MD66-484 | T-stat-#27 | [5 empty] | Located: Rm. 200C
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #28 | MD66-485 | T-stat-#28 | [5 empty] | Located: Rm. 223
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #29 | MD66-486 | T-stat-#29 | [5 empty] | Located: Rm. 222
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #30 | MD66-487 | T-stat-#30 | [5 empty] | Located: Rm. 220
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat # 31 | MD66-488 | T-stat-#31 | [5 empty] | Located: Rm. 219
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #32 | MD66-489 | T-stat-#32 | [5 empty] | Located: Rm. 215
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #33 | MD66-490 | T-stat-#33 | [5 empty] | Located: Rm. 211
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #34 | MD66-491 | T-stat-#34 | [5 empty] | Located: Rm. 210
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #35 | MD66-492 | T-stat-#35 | [5 empty] | Located: Rm. Coomon Area@ Rm.209
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #36 | MD66-493 | T-stat-#36 | [5 empty] | Located: Rm. 206
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #37 | MD66-494 | T-stat-#37 | [5 empty] | Located: Rm. 218
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #38 | MD66-495 | T-stat-#38 | [5 empty] | Located: Rm. 205
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #39 | MD66-496 | T-stat-#39 | [5 empty] | Located: Rm. 206
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #40 | MD66-497 | T-stat-#40 | [5 empty] | Located: Rm. 207
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #41 | MD66-498 | T-stat-#41 | [5 empty] | Located: Rm. 209
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #42 | MD66-499 | T-stat-#42 | [5 empty] | Located: Corridor @ Rm. 200
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #43 | MD66-500 | T-stat-#43 | [5 empty] | Located: Rm. 231
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #44 | MD66-501 | T-stat-#44 | [5 empty] | Located: Lobby @ 227
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #45 | MD66-502 | T-stat-#45 | [5 empty] | Located: Rm. 232
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #46 | MD66-503 | T-stat-#46 | [5 empty] | Located: Rm. 235
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #47 | MD66-504 | T-stat-#47 | [5 empty] | Located: Rm. 238
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #48 | MD66-505 | T-stat-#48 | [5 empty] | Located: Rm. 242
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #49 | MD66-506 | T-stat-#49 | [5 empty] | Located: Rm. 240
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #50 | MD66-507 | T-stat-#50 | [5 empty] | Located: Rm. 245
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #51 | MD66-508 | T-stat-#51 | [5 empty] | Located: Rm. 247
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #52 | MD66-509 | T-stat-#52 | [5 empty] | Located: Rm. 250
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #53 | MD66-510 | T-stat-#53 | [5 empty] | Located: Rm. 271
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #54 | MD66-511 | T-stat-#54 | [5 empty] | Located: Rm. 252
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #55 | MD66-512 | T-stat-#55 | [5 empty] | Located: Rm 270
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #56 | MD66-513 | T-stat-#56 | [5 empty] | Located: Rm. 254
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #57 | MD66-514 | T-stat-#57 | [5 empty] | Located: Rm. 260
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #58 | MD66-515 | T-stat-#58 | [5 empty] | Located: Rm. 265
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #59 | MD66-516 | T-stat-#59 | [5 empty] | Located: Rm. 267
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #60 | MD66-517 | T-stat-#60 | [5 empty] | Located: Common Area @ Rm. 280
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #61 | MD66-518 | T-stat-#61 | [5 empty] | Located: Rm. 202
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #62 | MD66-519 | T-stat-#62 | [5 empty] | Located: Rm; 116 Assembly Hall
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #63 | MD66-520 | T-stat-#63 | [5 empty] | Located: Rm. 203
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #64 | MD66-521 | T-stat-#64 | [5 empty] | Located: Rm. 225
B558 | MD066 |  | THERMOSTAT INVENTORY | Thermostat #65 | MD66-522 | T-stat-#65 | [5 empty] | Located: Rm. 275
B548 | MD066 |  | EXHAUST FAN INVENTORY | Exhaust Fan-#1 | MD66-523 | EF-#1 | Mail Room | Greenheck
B548 | MD066 |  | EXHAUST FAN INVENTORY | Exhaust Fan-#4 | MD66-524 | EF-#4 | Mech 114 | Greenheck
B548 | MD066 |  | EXHAUST FAN INVENTORY | Exhaust Fan-# 5 | MD66-525 | EF-#5 | Elec 113 | Greenheck
B548 | MD066 |  | EXHAUST FAN INVENTORY | Exhaust Fan-#6 | MD66-526 | EF-#6 | Elec 280 | Greenheck
B578 | MD066 |  | Lightning Rod inventory | Lightning rods T.C. Bldg. | MD66-527 | [6 empty] | Amount: 31
B578 | MD066 |  | Lightning Rod inventory | Lightning Rods OMS Bldg. | MD66-528 | [6 empty] | Amount:21
B583 | MD066 |  | EXTERIOR LIGHTING INVENTORY | Wall Packs T.C. Bldg. | MD66-529 | [6 empty] | Amoount: 34
B583 | MD066 |  | EXTERIOR LIGHTING INVENTORY | Wall Packs O.M.S. Bldg. | MD66-530 | [6 empty] | Amount: 12
B583 | MD066 |  | EXTERIOR LIGHTING INVENTORY | Wall Packs U.H.S. Bldg. | MD66-531 | [6 empty] | Amount: 8
B577 | MD066 |  | Gutter Inventory | Gutters T.C. Bldg | MD66-532 | [6 empty] | Linear Ft. 849'
B577 | MD066 |  | Gutter Inventory | Gutters O.M.S. Bldg. | MD66-533 | [6 empty] | Linear Ft. 291'
B577 | MD066 |  | Gutter Inventory | Gutters U.H.S. Bldg. | MD66-534 | [6 empty] | Linear Ft. 123'
B577 | MD066 |  | Gutter Inventory | Down Spouts T.C. Bldg. | MD66-535 | [6 empty] | Amount: 27
B577 | MD066 |  | Gutter Inventory | Down Spouts O.M.S. Bldg. | MD66-536 | [6 empty] | Amount: 11
B577 | MD066 |  | Gutter Inventory | Down Spouts U.H.S. Bldg. | MD66-537 | [6 empty] | Amount: 4
B583 | MD066 |  | INTERIOR BUILDING LIGHTNING | Lights T.C. Bldg. | MD66-538 | [6 empty] | Amount: 1098 (58 high lights Lift Required)
B583 | MD066 |  | INTERIOR BUILDING LIGHTNING | Lights O.M.S. Bldg. | MD66-539 | [6 empty] | Amount:80 (30 high lights, lift Required)
B583 | MD066 |  | INTERIOR BUILDING LIGHTNING | Lights U.H.S. Bldg. | MD66-540 | [6 empty] | Amount: 45
B583 | MD066 |  | INTERIOR BUILDING LIGHTNING | Motion Sensors T.C. Bldg. | MD66-541 | [6 empty] | Amount:114
B583 | MD066 |  | INTERIOR BUILDING LIGHTNING | Motion Sensor O.M.S. Bldg. | MD66-542 | [6 empty] | Amount:4
B588 | MD066 |  | EMERGENCY EXIT SIGNS INVENTORY | Exit Lights T.C. Bldg | MD66-543 | [6 empty] | Amount:63
B588 | MD066 |  | EMERGENCY EXIT SIGNS INVENTORY | Exit Lights O.M.S. Bldg. | MD66-544 | [6 empty] | Amount:7
B588 | MD066 |  | EMERGENCY EXIT SIGNS INVENTORY | Exit Lights U.H.S. Bldg. | MD66-545 | [6 empty] | Amount:4
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Water Fountain OMS | MD66-546 | WF-OMS-1
B570 | MD066 |  | PLUMBING FIXTURE INVENTORY | Water Fountain OMS | MD66-547 | WF-OMS-2
B592 | MD066 |  | FENCE INVENTORY | [8 empty] | 1600 FEET FENCE
B591 | MD066 |  | DOUBLE GATE INVENTORY | [8 empty] | 3 DOUBLE GATE
B591 | MD066 |  | SINGLE GATE INVENTORY | [8 empty] | 2 SINGLE GATES
B566 | MD066 |  | REFRIGERATOR/ FREEZER/ ICE MAKER INVENTORY | [8 empty] | 3 REFRIGERATORS
B571 | MD066 |  | WATER HEATER INVENTORY | WATER HEATER OMS