## 4CZ1
Sorted by LOCATION + WO + ASSET
Zone | Location | WO # | Asset # | PM # | PM Description | Manufacturer | Model Number | Serial # | Asset Description | Tech Name/ Company | Tech Scheduled Onsite | Note
4CZ1 | VA001-01 | 13498 | G037 | PM-MO-G037 | PM-MO-G037 ¦ Fire Extinguishers ¦ VA001-01 ¦ 4CZ1 |  |  |  | J-1502000-39 8-pc Fire Extinguishers
4CZ1 | VA001-01 | 13539 | 7082 | PM-SA-7082 | PM-SA-7082 ¦ Heater |  | Alliance Sl119 | 81150297 | J-1502000-27 Water Heater cap 119
4CZ1 | VA001-01 | 13560 | 6788 | PMQ-6788 | PMQ-6788 ¦ Freezer, Refrigerator, Ice Maker |  | AF47S3 | DB7835R103 | J-1502000-23 1-pc Freezer, 2 Section, Reach In, Electric kitchen
4CZ1 | VA001-01 | 13560 | 6806 | PMQ-6788 | PMQ-6788 ¦ Freezer, Refrigerator, Ice Maker | Manitowoc |  |  | J-1502000-23 1-pc Ice Maker Machine ¦ kitchen
4CZ1 | VA001-01 | 13560 | 6877 | PMQ-6788 | PMQ-6788 ¦ Freezer, Refrigerator, Ice Maker |  | AR72-S3 | B-7908R73 | J-1502000-23 1-pc Refrigerator, 2 Section kitchen
4CZ1 | VA001-02 | 13499 | G038 | PM-MO-G038 | PM-MO-G038 ¦ Fire Extinguishers ¦ VA001-02 ¦ 4CZ1 |  |  |  | J-1502000-39 2-pc Fire Extinguishers
4CZ1 | VA012-01 | 13500 | G039 | PM-MO-G039 | PM-MO-G039 ¦ Fire Extinguishers ¦ VA012-01 ¦ 4CZ1 |  |  |  | J-1502000-39 11-pc Fire Extinguishers
4CZ1 | VA012-01 | 13540 | 6781 | PMASA-6781 | Annual but Semi-Annual Filter Change ¦ 4CZ1 |  | ALFA-28-T | R218526 | J-1502000-23 1-pc Freezer Upright, Electric
4CZ1 | VA012-01 | 13540 | 6807 | PMASA-6781 | Annual but Semi-Annual Filter Change ¦ 4CZ1 | Manitowoc |  |  | J-1502000-23 1-pc Ice Maker Machine ¦ Annual Filter PM
4CZ1 | VA012-01 | 13597 | 7073 | PSA-7073 | PSA-7073 ¦ Water heater ¦ VA012-01 ¦ 4CZ1 |  |  |  | J-1502000-27 Water Heater
4CZ1 | VA012-02 | 13501 | G040 | PM-MO-G040 | PM-MO-G040 ¦ Fire Extinguishers ¦ VA012-02 ¦ 4CZ1 |  |  |  | J-1502000-39 11-pc Fire Extinguishers
4CZ1 | VA012-03 | 13502 | G041 | PM-MO-G041 | PM-MO-G041 ¦ Fire Extinguishers ¦ VA012-03 ¦ 4CZ1 |  |  |  | J-1502000-39 2-pc Fire Extinguishers
4CZ1 | VA012-03 | 13502 | G041 | PM-MO-G041 | PM-MO-G041 ¦ Fire Extinguishers ¦ VA012-03 ¦ 4CZ1 |  |  |  | J-1502000-39 2-pc Fire Extinguishers
4CZ1 | VA033-01 | 13503 | G042 | PM-MO-G042 | PM-MO-G042 ¦ Fire Extinguishers ¦ VA033-01 ¦ 4CZ1 |  |  |  | J-1502000-39 11-pc Fire Extinguishers
4CZ1 | VA033-01 | 13547 | 6808 | PMASA-6808 | Annual but Semi-Annual Filter Change ¦ 4CZ1 | Manitowoc | R23S/15080095 |  | NEW J-1502000-23 1-pc Ice Maker Machine ¦ Annual Filter PM
4CZ1 | VA033-01 | 13547 | 6878 | PMASA-6808 | Annual but Semi-Annual Filter Change ¦ 4CZ1 |  | TS-72 | 7188251 | J-1502000-23 1-pc Refrigerator, 2 Section
4CZ1 | VA033-01 | 13547 | 6903 | PMASA-6808 | Annual but Semi-Annual Filter Change ¦ 4CZ1 | Frigidaire |  |  | J-1502000-23 1-pc Refrigerator-Freezer
4CZ1 | VA033-01 | 13594 | 7070 | PSA-7070 | PSA-7070 ¦ Water heater ¦ VA033-01 ¦ 4CZ1 |  |  |  | J-1502000-27 Water Heater
4CZ1 | VA033-02 | 13504 | G043 | PM-MO-G043 | PM-MO-G043 ¦ Fire Extinguishers ¦ VA033-02 ¦ 4CZ1 |  |  |  | J-1502000-39 12-pc Fire Extinguishers
4CZ1 | VA033-02 | 13566 | 6971 | PSA-6971 | PSA-6971 ¦ Water heater ¦ VA033-02 ¦ 4CZ1 | State |  |  | J-1502000-27 1-pc Water Heater
4CZ1 | VA039-01 | 13437 | 3047 | FQ-3047 | SA ¦ Quarterly filter change | Trane |  | K4L270540 | J-1502000-04 1-pc Air Handler ¦ Quarterly Filter PM
4CZ1 | VA039-01 | 13437 | 3048 | FQ-3047 | SA ¦ Quarterly filter change | Trane |  | K4M270864 | J-1502000-04 1-pc Air Handler ¦ Quarterly Filter PM
4CZ1 | VA039-01 | 13437 | 4638 | FQ-3047 | SA ¦ Quarterly filter change | Carrier |  |  | J-1502000-09 1-pc Packaged Terminal AC ¦ Quarterly Filter PM
4CZ1 | VA039-01 | 13437 | 4645 | FQ-3047 | SA ¦ Quarterly filter change | McQuay |  |  | J-1502000-09 1-pc Packaged Terminal AC ¦ Quarterly Filter PM
4CZ1 | VA039-01 | 13505 | G044 | PM-MO-G044 | PM-MO-G044 ¦ Fire Extinguishers ¦ VA039-01 ¦ 4CZ1 |  |  |  | J-1502000-39 2-pc Fire Extinguishers
4CZ1 | VA039-01 | 13543 | 6789 | PMASA-6789 | Annual but Semi-Annual Filter Change ¦ 4CZ1 |  | US25FHX | BB-274931 | J-1502000-23 1-pc Freezer, 2 Section, Reach In, Electric
4CZ1 | VA039-01 | 13543 | 6815 | PMASA-6789 | Annual but Semi-Annual Filter Change ¦ 4CZ1 |  | AG 037174 |  | J-1502000-23 1-pc Ice Maker Machine ¦ Annual Filter PM
4CZ1 | VA039-01 | 13543 | 6859 | PMASA-6789 | Annual but Semi-Annual Filter Change ¦ 4CZ1 | Hobart | Q2 | 32-1060307 | J-1502000-23 1-pc Refrigerator, 2 Section
4CZ1 | VA039-01 | 13599 | 7077 | PSA-7077 | PSA-7077 ¦ Water heater ¦ VA039-01 ¦ 4CZ1 |  |  | 91150952 | J-1502000-27 Water Heater
4CZ1 | VA039-02 | 13506 | G045 | PM-MO-G045 | PM-MO-G045 ¦ Fire Extinguishers ¦ VA039-02 ¦ 4CZ1 |  |  |  | J-1502000-39 2-pc Fire Extinguishers
4CZ1 | VA039-02 | 13600 | 7078 | PSA-7078 | PSA-7078 ¦ Water heater ¦ VA039-02 ¦ 4CZ1 |  |  |  | J-1502000-27 Water Heater
4CZ1 | WV002-01 | 13444 | 3066 | FQ-3066 | SA ¦ Quarterly filter change |  |  |  | J-1502000-04 1-pc Air Handler ¦ Quarterly Filter PM
4CZ1 | WV002-01 | 13507 | G049 | PM-MO-G049 | PM-MO-G049 ¦ Fire Extinguishers ¦ WV002-01 ¦ 4CZ1 |  |  |  | J-1502000-39 10-pc Fire Extinguishers
4CZ1 | WV002-01 | 13550 | 6812 | PMASA-6812 | Annual but Semi-Annual Filter Change ¦ 4CZ1 | Scotsman |  |  | J-1502000-23 1-pc Ice Maker Machine ¦ Annual Filter PM
4CZ1 | WV002-01 | 13603 | 7081 | PSA-7081 | PSA-7081 ¦ Water heater ¦ WV002-01 ¦ 4CZ1 |  |  |  | J-1502000-27 Water Heater cap 119
4CZ1 | WV002-02 | 13435 | 3041 | FQ-3041 | SA ¦ Quarterly filter change | Honeywell |  |  | J-1502000-04 1-pc Air Handler ¦ Quarterly Filter PM
4CZ1 | WV002-02 | 13435 | 3042 | FQ-3041 | SA ¦ Quarterly filter change | Honeywell |  |  | J-1502000-04 1-pc Air Handler ¦ Quarterly Filter PM
4CZ1 | WV002-02 | 13508 | G050 | PM-MO-G050 | PM-MO-G050 ¦ Fire Extinguishers ¦ WV002-02 ¦ 4CZ1 |  |  |  | J-1502000-39 4-pc Fire Extinguishers
4CZ1 | WV002-02 | 13593 | 7068 | PSA-7068 | PSA-7068 ¦ Water heater ¦ WV002-02 ¦ 4CZ1 |  |  |  | J-1502000-27 Water Heater
4CZ1 | WV005-01 | 13436 | 3044 | FQ-3044 | SA ¦ Quarterly filter change | Reznor | SCE150-6 | AVF66M4N40074TE | J-1502000-04 1-pc Air Handler ¦ Quarterly Filter PM
4CZ1 | WV005-01 | 13436 | 3401 | FQ-3044 | SA ¦ Quarterly filter change |  |  |  | J-1502000-06 1-pc Furnace ¦ Quarterly Filter PM
4CZ1 | WV005-01 | 13509 | G051 | PM-MO-G051 | PM-MO-G051 ¦ Fire Extinguishers ¦ WV005-01 ¦ 4CZ1 |  |  |  | J-1502000-39 10-pc Fire Extinguishers
4CZ1 | WV005-01 | 13552 | 6816 | PMASA-6816 | Annual but Semi-Annual Filter Change ¦ 4CZ1 |  |  |  | J-1502000-23 1-pc Ice Maker Machine ¦ Annual Filter PM
4CZ1 | WV005-01 | 13552 | 6875 | PMASA-6816 | Annual but Semi-Annual Filter Change ¦ 4CZ1 |  | VR-2 | M1197418 | J-1502000-23 1-pc Refrigerator, 2 Section
4CZ1 | WV005-01 | 13596 | 7072 | PSA-7072 | PSA-7072 ¦ Water heater ¦ WV005-01 ¦ 4CZ1 |  | NR-240A | 9545P1230792020 | J-1502000-27 Water Heater
4CZ1 | WV005-02 | 13510 | G052 | PM-MO-G052 | PM-MO-G052 ¦ Fire Extinguishers ¦ WV005-02 ¦ 4CZ1 |  |  |  | J-1502000-39 4-pc Fire Extinguishers
4CZ1 | WV005-02 | 13565 | 6964 | PSA-6964 | PSA-6964 ¦ Water heater ¦ WV005-02 ¦ 4CZ1 | Rheem | 81VP208 | R 0896305870 | J-1502000-27 1-pc Water Heater
4CZ1 | WV006-01 | 13433 | 3002 | FQ-3002 | SA ¦ Quarterly filter change | EMI |  |  | J-1502000-04 1-pc AC Unit AC-1 ¦ Quarterly Filter PM
4CZ1 | WV006-01 | 13433 | 3003 | FQ-3002 | SA ¦ Quarterly filter change | EMI |  |  | J-1502000-04 1-pc AC Unit AC-2 ¦ Quarterly Filter PM
4CZ1 | WV006-01 | 13433 | 3004 | FQ-3002 | SA ¦ Quarterly filter change | Friedrich | MW24C3F | LHBC 01 929 | J-1502000-04 1-pc AC Unit R 115 ¦ Quarterly Filter PM
4CZ1 | WV006-01 | 13433 | 3005 | FQ-3002 | SA ¦ Quarterly filter change | Emerson | EMI |  | J-1502000-04 1-pc AC Unit, ArmsVault AC-3 ¦ Quarterly Filter PM
4CZ1 | WV006-01 | 13433 | 3202 | FQ-3002 | SA ¦ Quarterly filter change | Rheem | RKKB-A120CL22E | 2D6335ADAAF300416483 | J-1502000-04 1-pc Air Unit, Rooftop AC-1 ¦ Quarterly Filter PM
4CZ1 | WV006-01 | 13433 | 3203 | FQ-3002 | SA ¦ Quarterly filter change | Rheem | RKKB-A120CL22E | 2D6335ADAAF250408937 | J-1502000-04 1-pc Air Unit, Rooftop AC-2 ¦ Quarterly Filter PM
4CZ1 | WV006-01 | 13433 | 3204 | FQ-3002 | SA ¦ Quarterly filter change | Reznor |  |  | J-1502000-04 1-pc Air Unit, Rooftop HV2 ¦ Quarterly Filter PM
4CZ1 | WV006-01 | 13511 | G053 | PM-MO-G053 | PM-MO-G053 ¦ Fire Extinguishers ¦ WV006-01 ¦ 4CZ1 |  |  |  | J-1502000-39 21-pc Fire Extinguishers
4CZ1 | WV006-01 | 13538 | 6833 | PM-SA-6833 | Ice maker Semi Annual PM ¦ WV006-01 ¦ 4CZ1 | Scotsman | CU3030MA-1A | 11051000000000 | J-1502000-23 1-pc Ice Maker, Hotel/Motel Machine w/ Storage Bin ¦ Annual Filter PM
4CZ1 | WV006-01 | 13559 | 6888 | PMASA-6888 | Annual but Semi-Annual Filter Change ¦ 4CZ1 | Traulsen &Co Inc | RHT 3-32 NUT | 197968 5G | J-1502000-23 1-pc Refrigerator, 3 Section
4CZ1 | WV006-01 | 13559 | 6902 | PMASA-6888 | Annual but Semi-Annual Filter Change ¦ 4CZ1 | Victory | URS-2D-87 | K1196998 | J-1502000-23 1-pc Refrigerator, Reach In
4CZ1 | WV006-01 | 13581 | 7012 | PSA-7012 | PSA-7012 ¦ Water heater ¦ WV006-01 ¦ 4CZ1 | Lochinvar | LTN040G | DM9999138 | J-1502000-27 1-pc Water Heater cap 40 Gal
4CZ1 | WV006-01 | 13581 | 7061 | PSA-7012 | PSA-7012 ¦ Water heater ¦ WV006-01 ¦ 4CZ1 | Navien | NR-240 |  | J-1502000-27 2-pc Water Heater cap 301 Gal/hr
4CZ1 | WV006-02 | 13457 | 3200 | FQ-3200 | SA ¦ Quarterly filter change |  |  |  | J-1502000-04 1-pc Air Unit, Outdoor, Heating & Cooling, Gas Fired ¦ Quarterly Filter PM
4CZ1 | WV006-02 | 13457 | 3201 | FQ-3200 | SA ¦ Quarterly filter change |  |  |  | J-1502000-04 1-pc Air Unit, Outdoor, Heating & Cooling, Gas Fired ¦ Quarterly Filter PM
4CZ1 | WV006-02 | 13457 | 3373 | FQ-3200 | SA ¦ Quarterly filter change |  |  |  | J-1502000-04 1-pc Make-Up Air Unit, Heating Only, Gas Fired MU-3 ¦ Quarterly Filter PM
4CZ1 | WV006-02 | 13457 | 4689 | FQ-3200 | SA ¦ Quarterly filter change | Reznor |  |  | J-1502000-10 1-pc Make-Up Air Unit, Gas Fired MUA-3 ¦ Quarterly Filter PM
4CZ1 | WV006-02 | 13457 | 4690 | FQ-3200 | SA ¦ Quarterly filter change | Reznor |  |  | J-1502000-10 1-pc Make-Up Air Unit, GasFired MUA-4 ¦ Quarterly Filter PM
4CZ1 | WV006-02 | 13512 | G054 | PM-MO-G054 | PM-MO-G054 ¦ Fire Extinguishers ¦ WV006-02 ¦ 4CZ1 |  |  |  | J-1502000-39 12-pc Fire Extinguishers
4CZ1 | WV006-02 | 13568 | 6975 | PSA-6975 | PSA-6975 ¦ Water heater ¦ WV006-02 ¦ 4CZ1 | Rheem | G100-200 | URNG0408G01364 | J-1502000-27 1-pc Water Heater cap 100 gal
4CZ1 | WV006-03 | 13513 | G055 | PM-MO-G055 | PM-MO-G055 ¦ Fire Extinguishers ¦ WV006-03 ¦ 4CZ1 |  |  |  | J-1502000-39 1-pc Fire Extinguishers
4CZ1 | WV007-01 | 13514 | G056 | PM-MO-G056 | PM-MO-G056 ¦ Fire Extinguishers ¦ WV007-01 ¦ 4CZ1 |  |  |  | J-1502000-39 12-pc Fire Extinguishers
4CZ1 | WV007-01 | 13551 | 6813 | PMASA-6813 | Annual but Semi-Annual Filter Change ¦ 4CZ1 | Scotsman |  |  | J-1502000-23 1-pc Ice Maker Machine ¦ Annual Filter PM
4CZ1 | WV007-01 | 13551 | 6910 | PMASA-6813 | Annual but Semi-Annual Filter Change ¦ 4CZ1 |  | 2020E | S0000000585 0 | J-1502000-23 2-pc Refrigerator, 2 Section
4CZ1 | WV007-01 | 13598 | 7076 | PSA-7076 | PSA-7076 ¦ Water heater ¦ WV007-01 ¦ 4CZ1 |  |  |  | J-1502000-27 Water Heater
4CZ1 | WV024-01 | 13455 | 3193 | FQ-3193 | SA ¦ Quarterly filter change | Daikin | REMQ72PATJ | A000295 | J-1502000-04 1-pc Air Unit, Outdoor¦ Quarterly Filter PM
4CZ1 | WV024-01 | 13455 | 3194 | FQ-3193 | SA ¦ Quarterly filter change | Daikin | REMQ72PATJ | A000298 | J-1502000-04 1-pc Air Unit, Outdoor¦ Quarterly Filter PM
4CZ1 | WV024-01 | 13525 | G067 | PM-MO-G067 | PM-MO-G067 ¦ Fire Extinguishers ¦ WV024-01 ¦ 4CZ1 |  |  |  | J-1502000-39 11-pc Fire Extinguishers
4CZ1 | WV024-01 | 13587 | 7044 | PSA-7044 | PSA-7044 ¦ Water heater ¦ WV024-01 ¦ 4CZ1 | Navien | NR-210A NG | 8495499544 | J-1502000-27 1-pc Water Heater Rm 106
4CZ1 | WV024-02 | 13447 | 3095 | FQ-3095 | SA ¦ Quarterly filter change | Trane |  |  | J-1502000-04 1-pc Air Handler AHU ¦ Quarterly Filter PM
4CZ1 | WV024-02 | 13447 | 3096 | FQ-3095 | SA ¦ Quarterly filter change | Trane |  |  | J-1502000-04 1-pc Air Handler AHU ¦ Quarterly Filter PM
4CZ1 | WV024-02 | 13526 | G068 | PM-MO-G068 | PM-MO-G068 ¦ Fire Extinguishers ¦ WV024-02 ¦ 4CZ1 |  |  |  | J-1502000-39 4-pc Fire Extinguishers
4CZ1 | WV024-02 | 13589 | 7052 | PSA-7052 | PSA-7052 ¦ Water heater ¦ WV024-02 ¦ 4CZ1 | Ruud | PESZO-2 | 1296C01117 | J-1502000-27 1-pc Water Heater Rm 205
4CZ1 | WV035-01 | 13456 | 3195 | FQ-3195 | SA ¦ Quarterly filter change | Trane | TTA240B300FA | 3382TD5AD | J-1502000-04 1-pc Make Up Air Unit MUAU, Outdoor ¦ Quarterly Filter PM
4CZ1 | WV035-01 | 13528 | G070 | PM-MO-G070 | PM-MO-G070 ¦ Fire Extinguishers ¦ WV035-01 ¦ 4CZ1 |  |  |  | J-1502000-39 11-pc Fire Extinguishers
4CZ1 | WV035-02 | 13529 | G071 | PM-MO-G071 | PM-MO-G071 ¦ Fire Extinguishers ¦ WV035-02 ¦ 4CZ1 |  |  |  | J-1502000-39 7-pc Fire Extinguishers
4CZ1 | WV035-02 | 13576 | 6996 | PSA-6996 | PSA-6996 ¦ Water heater ¦ WV035-02 ¦ 4CZ1 | AO Smith | ejct20200 | 1417j012516 | J-1502000-27 1-pc Water Heater cap 19.9 gal Rm 107
4CZ1 | WV035-02 | 13576 | 7045 | PSA-6996 | PSA-6996 ¦ Water heater ¦ WV035-02 ¦ 4CZ1 | Prestige | C0954766766021001 | PS80332 | J-1502000-27 1-pc Water Heater Rm 106
4CZ1 | WV035-03 | 13530 | G072 | PM-MO-G072 | PM-MO-G072 ¦ Fire Extinguishers ¦ WV035-03 ¦ 4CZ1 |  |  |  | J-1502000-39 1-pc Fire Extinguishers
4CZ1 | WV035-03 | 13530 | G072 | PM-MO-G072 | PM-MO-G072 ¦ Fire Extinguishers ¦ WV035-03 ¦ 4CZ1 |  |  |  | J-1502000-39 1-pc Fire Extinguishers

## 4CZ2
Sorted by LOCATION + WO + ASSET
Zone | Location | WO # | Asset # | PM # | PM Description | Manufacturer | Model Number | Serial # | Asset Description | Tech Name/ Company | Tech Scheduled Onsite | Note
4CZ2 | WV009-01 | 13515 | G057 | PM-MO-G057 | PM-MO-G057 ¦ Fire Extinguishers ¦ WV009-01 ¦ 4CZ2 |  |  |  | J-1502000-39 13-pc Fire Extinguishers | Richard Barker | 2023-08-09
4CZ2 | WV009-01 | 13583 | 7016 | PSA-7016 | PSA-7016 ¦ Water heater ¦ WV009-01 ¦ 4CZ2 | Reliance | 50NORTO | F96383242 | J-1502000-27 1-pc Water Heater cap 50 GAL Rm 117
4CZ2 | WV009-02 | 13516 | G058 | PM-MO-G058 | PM-MO-G058 ¦ Fire Extinguishers ¦ WV009-02 ¦ 4CZ2 |  |  |  | J-1502000-39 3-pc Fire Extinguishers
4CZ2 | WV010-01 | 13438 | 3049 | FQ-3049 | SA ¦ Quarterly filter change | Trane | MCCA012MAE0CAA0BB00000000 0 | K96F54050 | J-1502000-04 1-pc Air Handler ¦ Quarterly Filter PM | Richard Barker | 8/7-8/8
4CZ2 | WV010-01 | 13517 | G059 | PM-MO-G059 | PM-MO-G059 ¦ Fire Extinguishers ¦ WV010-01 ¦ 4CZ2 |  |  |  | J-1502000-39 10-pc Fire Extinguishers
4CZ2 | WV010-01 | 13544 | 6790 | PMASA-6790 | Annual but Semi-Annual Filter Change ¦ 4CZ2 |  | TS-49F | 6859978 | J-1502000-23 1-pc Freezer, 2 Section, Reach In, Electric
4CZ2 | WV010-01 | 13544 | 6803 | PMASA-6790 | Annual but Semi-Annual Filter Change ¦ 4CZ2 | Hoshizaki |  |  | J-1502000-23 1-pc Ice Maker Machine ¦ Annual Filter PM
4CZ2 | WV010-01 | 13544 | 6911 | PMASA-6790 | Annual but Semi-Annual Filter Change ¦ 4CZ2 |  |  |  | J-1502000-23 2-pc Refrigerator, 2 Section
4CZ2 | WV010-01 | 13595 | 7071 | PSA-7071 | PSA-7071 ¦ Water heater ¦ WV010-01 ¦ 4CZ2 |  | NR-240 |  | J-1502000-27 Water Heater
4CZ2 | WV010-02 | 13518 | G060 | PM-MO-G060 | PM-MO-G060 ¦ Fire Extinguishers ¦ WV010-02 ¦ 4CZ2 |  |  |  | J-1502000-39 7-pc Fire Extinguishers
4CZ2 | WV010-02 | 13592 | 7067 | PSA-7067 | PSA-7067 ¦ Water heater ¦ WV010-02 ¦ 4CZ2 |  |  |  | J-1502000-27 Water Heater
4CZ2 | WV014-01 | 13548 | 6809 | PMASA-6809 | Annual but Semi-Annual Filter Change ¦ 4CZ2 | Manitowoc |  |  | J-1502000-23 1-pc Ice Maker Machine ¦ Annual Filter PM | Richard Barker | 8/14-8/15
4CZ2 | WV014-01 | 13548 | 6879 | PMASA-6809 | Annual but Semi-Annual Filter Change ¦ 4CZ2 |  | VR-2 | G1194129 | J-1502000-23 1-pc Refrigerator, 2 Section
4CZ2 | WV014-01 | 13602 | 7080 | PSA-7080 | PSA-7080 ¦ Water heater ¦ WV014-01 ¦ 4CZ2 |  | AL119SL |  | J-1502000-27 Water Heater cap 119
4CZ2 | WV014-02 | 13519 | G061 | PM-MO-G061 | PM-MO-G061 ¦ Fire Extinguishers ¦ WV014-02 ¦ 4CZ2 |  |  |  | J-1502000-39 4-pc Fire Extinguishers
4CZ2 | WV014-03 | 13520 | G062 | PM-MO-G062 | PM-MO-G062 ¦ Fire Extinguishers ¦ WV014-03 ¦ 4CZ2 |  |  |  | J-1502000-39 1-pc Fire Extinguishers
4CZ2 | WV020-01 | 13453 | 3160 | FQ-3160 | SA ¦ Quarterly filter change | Trane | MCCA010CAG0C0F0A0000000 | K97C36123 | J-1502000-04 1-pc Air Handler, With AHU-1¦ Quarterly Filter PM | Richard Barker | 8/21-8/22
4CZ2 | WV020-01 | 13453 | 3167 | FQ-3160 | SA ¦ Quarterly filter change | Trane | MCCA010BAG0C0FA0ALBB00 | K97C36122 | J-1502000-04 1-pc Air Handler, With Chilled Water AHU-1(Module 2) ¦ Quarterly Filter PM
4CZ2 | WV020-01 | 13453 | 3168 | FQ-3160 | SA ¦ Quarterly filter change | Trane | MCCA010MAG0C0B0BB0000D00A 0 | K97C36120 | J-1502000-04 1-pc Air Handler, With Chilled Water AHU-1(Module 4) ¦ Quarterly Filter PM
4CZ2 | WV020-01 | 13453 | 3171 | FQ-3160 | SA ¦ Quarterly filter change | Trane | MCCA010GAN0ABA000E0CAA000 0BC000DAAAB00A0 | K97C36086 | J-1502000-04 1-pc Air Handler, With Chilled Water AHU-2(Module 1) ¦ Quarterly Filter PM
4CZ2 | WV020-01 | 13453 | 3173 | FQ-3160 | SA ¦ Quarterly filter change | Trane | MCCA010GAN0ABA000E0CAA000 0BC000DAAAB00A0 | K97C36085 | J-1502000-04 1-pc Air Handler, With Chilled Water AHU-2(Module 3) ¦ Quarterly Filter PM
4CZ2 | WV020-01 | 13453 | 3178 | FQ-3160 | SA ¦ Quarterly filter change | Trane | MCCA010HCE0C0B0BC0A | K97C36121 | J-1502000-04 1-pc Air Handler, WithChilled Water AHU-1(Module 3) ¦ Quarterly Filter PM
4CZ2 | WV020-01 | 13453 | 3179 | FQ-3160 | SA ¦ Quarterly filter change | Trane | MCCA010GAN0ABA000E0CAA0000BC000DAAAB00A0 | K97C36089 | J-1502000-04 1-pc Air Handler, WithChilled Water AHU-2(Module 4) ¦ Quarterly Filter PM
4CZ2 | WV020-01 | 13453 | 3198 | FQ-3160 | SA ¦ Quarterly filter change | Trane | TTA240B300BD | M1342UYAH | J-1502000-04 1-pc Air Unit, Outdoor AHU¦ Quarterly Filter PM
4CZ2 | WV020-01 | 13453 | 3199 | FQ-3160 | SA ¦ Quarterly filter change | Trane | TTA180B300CC | M13420AAH | J-1502000-04 1-pc Air Unit, Outdoor AHU¦ Quarterly Filter PM
4CZ2 | WV020-01 | 13521 | G063 | PM-MO-G063 | PM-MO-G063 ¦ Fire Extinguishers ¦ WV020-01 ¦ 4CZ2 |  |  |  | J-1502000-39 6-pc Fire Extinguishers
4CZ2 | WV020-01 | 13557 | 6829 | PMASA-6829 | Annual but Semi-Annual Filter Change ¦ 4CZ2 | Manitowoc |  |  | J-1502000-23 1-pc Ice Maker, Hotel/Motel Machine ¦ Annual Filter PM
4CZ2 | WV020-01 | 13557 | 7046 | PMASA-6829 | Annual but Semi-Annual Filter Change ¦ 4CZ2 | Navien | NR-240-NG | 8880-20100426-3017 | J-1502000-27 1-pc Water Heater Rm 111
4CZ2 | WV020-01 | 13557 | 7047 | PMASA-6829 | Annual but Semi-Annual Filter Change ¦ 4CZ2 | Navien | NR-240-NG | 194IB009 | J-1502000-27 1-pc Water Heater Rm 111
4CZ2 | WV020-01 | 13557 | 7048 | PMASA-6829 | Annual but Semi-Annual Filter Change ¦ 4CZ2 | Navien | NR-240-NG |  | J-1502000-27 1-pc Water Heater Rm 111
4CZ2 | WV020-01 | 13557 | 7049 | PMASA-6829 | Annual but Semi-Annual Filter Change ¦ 4CZ2 | Navien | NR-240-NG | 202JB005 | J-1502000-27 1-pc Water Heater Rm 111
4CZ2 | WV020-01 | 13588 | 7046 | PSA-7046 | PSA-7046 ¦ Water heater ¦ WV020-01 ¦ 4CZ2 | Navien | NR-240-NG | 8880-20100426-3017 | J-1502000-27 1-pc Water Heater Rm 111
4CZ2 | WV020-01 | 13588 | 7047 | PSA-7046 | PSA-7046 ¦ Water heater ¦ WV020-01 ¦ 4CZ2 | Navien | NR-240-NG | 194IB009 | J-1502000-27 1-pc Water Heater Rm 111
4CZ2 | WV020-01 | 13588 | 7048 | PSA-7046 | PSA-7046 ¦ Water heater ¦ WV020-01 ¦ 4CZ2 | Navien | NR-240-NG |  | J-1502000-27 1-pc Water Heater Rm 111
4CZ2 | WV020-01 | 13588 | 7049 | PSA-7046 | PSA-7046 ¦ Water heater ¦ WV020-01 ¦ 4CZ2 | Navien | NR-240-NG | 202JB005 | J-1502000-27 1-pc Water Heater Rm 111
4CZ2 | WV020-02 | 13522 | G064 | PM-MO-G064 | PM-MO-G064 ¦ Fire Extinguishers ¦ WV020-02 ¦ 4CZ2 |  |  |  | J-1502000-39 2-pc Fire Extinguishers
4CZ2 | WV020-02 | 13579 | 7008 | PSA-7008 | PSA-7008 ¦ Water heater ¦ WV020-02 ¦ 4CZ2 | Whirlpool | E2F40LD045V | 407140454 | J-1502000-27 1-pc Water Heater cap 38 RM 102
4CZ2 | WV022-01 | 13441 | 3056 | FQ-3056 | SA ¦ Quarterly filter change | York | GS74SHFC12X9 | 94-128116A | J-1502000-04 1-pc Air Handler ¦ Quarterly Filter PM | Richard Barker | 2023-08-23
4CZ2 | WV022-01 | 13523 | G065 | PM-MO-G065 | PM-MO-G065 ¦ Fire Extinguishers ¦ WV022-01 ¦ 4CZ2 |  |  |  | J-1502000-39 4-pc Fire Extinguishers
4CZ2 | WV022-01 | 13541 | 6782 | PMASA-6782 | Annual but Semi-Annual Filter Change ¦ 4CZ2 |  | 1F-SS | F9514101 | J-1502000-23 1-pc Freezer Upright, Electric
4CZ2 | WV022-01 | 13541 | 6810 | PMASA-6782 | Annual but Semi-Annual Filter Change ¦ 4CZ2 | Manitowoc |  |  | J-1502000-23 1-pc Ice Maker Machine ¦ Annual Filter PM
4CZ2 | WV022-01 | 13590 | 7057 | PSA-7057 | PSA-7057 ¦ Water heater ¦ WV022-01 ¦ 4CZ2 | Bosch | C1210ESNG | 7703311073 | J-1502000-27 2-pc Water Heater
4CZ2 | WV022-02 | 13524 | G066 | PM-MO-G066 | PM-MO-G066 ¦ Fire Extinguishers ¦ WV022-02 ¦ 4CZ2 |  |  |  | J-1502000-39 4-pc Fire Extinguishers
4CZ2 | WV029-01 | 13439 | 3051 | FQ-3051 | SA ¦ Quarterly filter change | Trane | MCCA003MAD0B0B0BB0AC000000 | K94A06497 | J-1502000-04 1-pc Air Handler ¦ Quarterly Filter PM | Richard Barker | 2023-08-24
4CZ2 | WV029-01 | 13439 | 3052 | FQ-3051 | SA ¦ Quarterly filter change | Trane |  |  | J-1502000-04 1-pc Air Handler ¦ Quarterly Filter PM
4CZ2 | WV029-01 | 13553 | 6818 | PMASA-6818 | Annual but Semi-Annual Filter Change ¦ 4CZ2 |  |  |  | J-1502000-23 1-pc Ice Maker Machine ¦ Annual Filter PM
4CZ2 | WV029-02 | 13527 | G069 | PM-MO-G069 | PM-MO-G069 ¦ Fire Extinguishers ¦ WV029-02 ¦ 4CZ2 |  |  |  | J-1502000-39 3-pc Fire Extinguishers
4CZ2 | WV029-02 | 13601 | 7079 | PSA-7079 | PSA-7079 ¦ Water heater ¦ WV029-02 ¦ 4CZ2 |  |  |  | J-1502000-27 Water Heater
4CZ2 | WV046-01 | 13440 | 3054 | FQ-3054 | SA ¦ Quarterly filter change | Trane |  |  | J-1502000-04 1-pc Air Handler ¦ Quarterly Filter PM | Richard Barker | 8/28-8/29
4CZ2 | WV046-01 | 13440 | 3055 | FQ-3054 | SA ¦ Quarterly filter change | Trane |  | K90E15321 | J-1502000-04 1-pc Air Handler ¦ Quarterly Filter PM
4CZ2 | WV046-01 | 13531 | G073 | PM-MO-G073 | PM-MO-G073 ¦ Fire Extinguishers ¦ WV046-01 ¦ 4CZ2 |  |  |  | J-1502000-39 10-pc Fire Extinguishers
4CZ2 | WV046-01 | 13586 | 7041 | PSA-7041 | PSA-7041 ¦ Water heater ¦ WV046-01 ¦ 4CZ2 | Hatco | C-17 | 72209-TL9008 | J-1502000-27 1-pc Water Heater Kitchen - Scullery
4CZ2 | WV046-01 | 13586 | 7042 | PSA-7041 | PSA-7041 ¦ Water heater ¦ WV046-01 ¦ 4CZ2 | Hatco | S-15 | 64510-1L9002 | J-1502000-27 1-pc Water Heater Kitchen Scullery
4CZ2 | WV046-01 | 13586 | 7043 | PSA-7041 | PSA-7041 ¦ Water heater ¦ WV046-01 ¦ 4CZ2 | Hatco | 3CS-M9B | 64859-9002 | J-1502000-27 1-pc Water Heater Kitchen Scullery
4CZ2 | WV046-01 | 13586 | 7063 | PSA-7041 | PSA-7041 ¦ Water heater ¦ WV046-01 ¦ 4CZ2 | Navien |  |  | J-1502000-27 2-pc Water Heater Mechanical
4CZ2 | WV046-01 | 13586 | 7065 | PSA-7041 | PSA-7041 ¦ Water heater ¦ WV046-01 ¦ 4CZ2 | Navien | NR-210 |  | J-1502000-27 3-pc Water Heater cap 265 gal/hr Mechanical
4CZ2 | WV046-01 | 13586 | 7066 | PSA-7041 | PSA-7041 ¦ Water heater ¦ WV046-01 ¦ 4CZ2 | Navien | NP-240 |  | J-1502000-27 3-pc Water Heater cap 301 gal/hr Mechanical
4CZ2 | WV046-02 | 13532 | G074 | PM-MO-G074 | PM-MO-G074 ¦ Fire Extinguishers ¦ WV046-02 ¦ 4CZ2 |  |  |  | J-1502000-39 10-pc Fire Extinguishers
4CZ2 | WV046-02 | 13578 | 7007 | PSA-7007 | PSA-7007 ¦ Water heater ¦ WV046-02 ¦ 4CZ2 | Navien | NR-240A |  | J-1502000-27 1-pc Water Heater cap 301 GPH Rm. 14
4CZ2 | WV046-03 | 13533 | G075 | PM-MO-G075 | PM-MO-G075 ¦ Fire Extinguishers ¦ WV046-03 ¦ 4CZ2 |  |  |  | J-1502000-39 1-pc Fire Extinguishers
4CZ2 | WV046-03 | 13533 | G075 | PM-MO-G075 | PM-MO-G075 ¦ Fire Extinguishers ¦ WV046-03 ¦ 4CZ2 |  |  |  | J-1502000-39 1-pc Fire Extinguishers

## Sheet1
# | Zone | Location | WO # | Asset # | PM # | PM Description | Manufacturer | Model Number | Serial # | Asset Description