Building 208 Trouble shoot and repair sump pumps

Note: Because it is a confined space, it will be required to proceed under “confined space” regulations.

Proposal to:

- Replace 2 sum pumps in front of building. Disconnect and remove two old pumps.

- Clean manhole from debris, remove water. Build two supports per manufacturer specs with CMU blocks for two new pumps, add metal braces to prevent vibration.

- Install, power wiring two new pumps.

- Replace 2” no hub pipes and connectors with new ones

- Unclog drain system though 4” line inside the building.

- Scrape, clean and paint metal floor support inside manhole.

- Remove all scrap from property.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY024 |  |  |  |  |  |  |  |  |
| Building 208 Trouble shoot and repair |  |  |  |  |  |  |  |  |
| CSS #91017 - CMI #20215 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 12.07.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 85.00 | 64 |  |  |  |  |  | $ 5,440.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 3,220.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 8,600.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred |  |  |  |  |  |  |  | $ 250.00 |
| 2.2 CE Factor 1.02% |  |  |  |  |  |  |  | $ 178.20 |

| Grand Total |  |  |  |  |  |  |  | $ 9,088.20 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |