Repair vehicle exhaust fans in OMS.

Proposal to:

- Service Call

- Starting capacitors appear to have failed in motors.

- Replace fan motor on (3) ceiling mounted exhaust fans.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY128 |  |  |  |  |  |  |  |  |
| Repair vehicle exhaust fans in OMS |  |  |  |  |  |  |  |  |
| CSS #9010 - CMI #18720 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 01.24.23 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 120.00 | 12 |  |  |  |  |  | $ 1,440.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 1,427.04 |
| 1.3 20% Markup |  |  |  |  |  |  |  | $ 561.40 |
| 1.4 Equipment Rental |  |  |  |  |  |  |  | $ 1,380.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 4,808.44 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 CE Factor 1.02% |  |  |  |  |  |  |  | $ 96.16 |
| Grand Total |  |  |  |  |  |  |  | $ 4,904.60 |