Repair Hot water pump HWP-3-0 is leaking.

Proposal to:

1. Isolate pump.

2. Drain glycol.

3. Remove pump, bring to shop for seal and bearing replacement.

4. Return and install pump.

5. Fill with glycol.

6. Test operation.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY011 |  |  |  |  |  |  |  |  |
| Repair Hot water pump HWP |  |  |  |  |  |  |  |  |
| CSS #92737 - CMI #21743 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 04.11.23 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 150.00 | 16 |  |  |  |  |  | $ 2,400.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 680.66 |
| 1.3 Trip |  |  |  |  |  |  |  | $ 75.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 3,155.66 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred cost |  |  |  |  |  |  |  | $ 248.69 |

| 2.1 CE Factor 1.02% |  |  |  |  |  |  |  | $ 68.08 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Grand Total |  |  |  |  |  |  |  | $ 3,472.43 |