Repair spray pump on cooling tower.
Spray pump was found to be non-operational during startup of the cooling tower.

Proposal to:

- Service to cooling tower

- Remove failed spray pump

- Furnish and install new spray pump

- Start up and operational test

- Put units back into service

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY060 |  |  |  |  |  |  |  |  |
| Repair spray pump on cooling tower. |  |  |  |  |  |  |  |  |
| CSS #93466 - CMI #22144 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 05.30.23 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 120.00 | 8 |  |  |  |  |  | $ 960.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 4,818.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 5,778.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 CMI Crane credit |  |  |  |  |  |  |  | ($1,800.00) |
| 2.1 CE Factor 1.02% |  |  |  |  |  |  |  | $79.56 |

| Grand Total |  |  |  |  |  |  |  | $ 4,057.56 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |