Pressure regulators are leaking at 3 bays at AMSA shop.

Proposal to:

- Replace 4 (four) pressure regulators.

- Replace one ¾ in REAL CRAFT air hose system.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| Pressure regulators are leaking |  |  |  |  |  |  |  |  |
| CSS #92871 - CMI #21755 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 04.06.23 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 85.00 | 16 |  |  |  |  |  | $ 1,360.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 2,190.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 3,550.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred Cost |  |  |  |  |  |  |  | $ 150.00 |
| 2.1 CE Factor 1.02% |  |  |  |  |  |  |  | $ 74.00 |

| Grand Total |  |  |  |  |  |  |  | $ 3,774.00 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |