Exhaust fan in first floor mechanical room making loud noises.

Proposal to:

- Replace and upgrade from .25HP to 1 HP Baldor Motor at first floor mechanical room.

- Service the duct system, replace the belt.

- Provide new three phase power for the new motor.

- Because of the more powerful motor doesn't come in one phase, we have to provide new power line from main panel to duct system.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| Exhaust fan in first floor |  |  |  |  |  |  |  |  |
| CSS #93729 - CMI #22717 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 06.08.23 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 85.00 | 24 |  |  |  |  |  | $ 2,040.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 2,945.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 4,985.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred Costs |  |  |  |  |  |  |  | $250.00 |
| 2.2 CE Factor 1.02% |  |  |  |  |  |  |  | $ 104.70 |
| Grand Total |  |  |  |  |  |  |  | $ 5,339.70 |