Repair two Vehicle Exhaust Hoses.
Two Exhaust hoses are torn, one on schoolhouse side of the building and the other on the AMSA (maintenance) side.

Proposal to:

- Remove and replace 2 damaged vehicle exhaust hoses with new.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY059 |  |  |  |  |  |  |  |  |
| Repair two Vehicle Exhaust Hoses. |  |  |  |  |  |  |  |  |
| CSS #93561 - CMI #22704 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 06.07.23 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 80.00 | 8 |  |  |  |  |  | $ 640.00 |
| 1.2 Exhaust Hose - 2 |  |  |  | $ 2,506.00 |  | $ 2,506.00 | $ 501.20 | $ 3,007.20 |
| 1.2 Bridge Clamp - 4 |  |  |  | $ 85.00 |  | $ 85.00 | $ 17.00 | $ 102.00 |
| 1.2 Hose 6ftx12ft |  |  |  | $ 360.00 |  | $ 360.00 | $ 72.00 | $ 432.00 |
| 1.2 Clamps 6"- 4 |  |  |  | $ 102.60 |  | $ 102.60 | $ 20.52 | $ 123.12 |
| 1.2 Vent cap |  |  |  | $ 89.95 |  | $ 89.95 | $ 17.99 | $ 107.94 |

| 1.3 Shipping & handling |  |  |  |  |  |  |  | $ 130.00 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred | $ 80.00 | 1 |  |  |  |  |  | $ 80.00 |
| 2.2 CE Factor |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 4,622.26 |