Plattsburgh, NY Solution Wide Headend Repair/Replacement

LoCurrent Systems Suggested Summary of Work

Certified contractor in Galaxy and Veridt shall repair/replace Server, inclusive of software, with current DoD approved Operating Systems.

Certified contractor shall repair/replace Access Control Enrollment Laptop with matching software and approved DoD Operating Systems.

Contractor shall repair/replace existing DVR with DoD Cybersecurity approved equipment and integrate into Galaxy/Veridt Solution.

Certified contractor shall integrate all aspects of the solution inclusive of Ai Phone Door Release, CAC Harvesting Software, Biometric Guest Pass, and CCTV Cameras for a complete solution.

Contractor shall replace Main Man Door Entrance Veridt reader with new.

Contractor shall program test and demonstrate all aspects at the completion of the work. All wiring, Power Supplies, Cabinetry, Galaxy hardware, and Veridt hardware shall remain, except for Main Man Door Entrance Reader.