## VA701
Site | Facility # | Zone | ELIN | Inventory Type | Asset # | Description | QTY | Equipment Number | Location | Manufacturer | Model No. | Serial No. | Capacity | Misc Notes
VA701 | VA701-00001 | 3 | XXXX | ARM RESERVE FACILITY KITCHEN EQUIPMENT (OTHER THAN REFRIGERATORS, FREEZERS, AND ICE MACHINES) | XXXX | Coffee Maker | 1 |  | Assembly | Curtis | RU-150-12 | 13996060 |  | Filter
VA701 | VA701-00001 | 3 | XXXX | ARM RESERVE FACILITY KITCHEN EQUIPMENT (OTHER THAN REFRIGERATORS, FREEZERS, AND ICE MACHINES) | XXXX | Table, Stainless Steel (Coffe Station) | 1 |  | Assembly | Advaced Tabco | EKSS306
VA701 | VA701-00001 | 3 | XXXX | ARM RESERVE FACILITY KITCHEN EQUIPMENT (OTHER THAN REFRIGERATORS, FREEZERS, AND ICE MACHINES) | XXXX | Warming Table, 4 Basin | 1 |  | Kitchen | Piper | 4HF | 55621
VA701 | VA701-00001 | 3 | XXXX | ARM RESERVE FACILITY KITCHEN EQUIPMENT (OTHER THAN REFRIGERATORS, FREEZERS, AND ICE MACHINES) | XXXX | Garbage Disposal | 1 |  | Kitchen | Hobart | AA01107
VA701 | VA701-00001 | 3 | XXXX | ARM RESERVE FACILITY KITCHEN EQUIPMENT (OTHER THAN REFRIGERATORS, FREEZERS, AND ICE MACHINES) | XXXX | Garbage Disposal | 1 |  | Kitchen | Hobart | FD4300-1 | 10300232-MAR
VA701 | VA701-00001 | 3 | XXXX | ARM RESERVE FACILITY KITCHEN EQUIPMENT (OTHER THAN REFRIGERATORS, FREEZERS, AND ICE MACHINES) | XXXX | Cooling Table | 1 |  | Kitchen | Piper Product | 4BCM | 35620
VA701 | VA701-00001 | 3 | XXXX | ARM RESERVE FACILITY KITCHEN EQUIPMENT (OTHER THAN REFRIGERATORS, FREEZERS, AND ICE MACHINES) | XXXX | Dishwasher | 1 |  | Kitchen | Hobart | AM15 | 231168747
VA701 | VA701-00001 | 3 | XXXX | ARM RESERVE FACILITY KITCHEN EQUIPMENT (OTHER THAN REFRIGERATORS, FREEZERS, AND ICE MACHINES) | XXXX | Meat Slicer | 1 |  | Kitchen | Hobart | HS7N | 31-1543-935
VA701 | VA701-00001 | 3 | XXXX | ARM RESERVE FACILITY KITCHEN EQUIPMENT (OTHER THAN REFRIGERATORS, FREEZERS, AND ICE MACHINES) | XXXX | Warming Cabinet, 2 Door | 1 |  | Kitchen | ALTO-SHAAM | 1000-UP | 2398628-00
VA701 | VA701-00001 | 3 | XXXX | ARM RESERVE FACILITY KITCHEN EQUIPMENT (OTHER THAN REFRIGERATORS, FREEZERS, AND ICE MACHINES) | XXXX | Mixer | 1 |  | Kitchen | Hobart | HL120 | 31-1517-969
VA701 | VA701-00001 | 3 | XXXX | ARM RESERVE FACILITY KITCHEN EQUIPMENT (OTHER THAN REFRIGERATORS, FREEZERS, AND ICE MACHINES) | XXXX | Oven | 1 |  | Kitchen | Vulcan | VC6AD-11D150K | 487856569
VA701 | VA701-00001 | 3 | XXXX | ARM RESERVE FACILITY KITCHEN EQUIPMENT (OTHER THAN REFRIGERATORS, FREEZERS, AND ICE MACHINES) | XXXX | Oven | 1 |  | Kitchen | Vulcan | VC6AD-11D150K | 487856570
VA701 | VA701-00001 | 3 | XXXX | ARM RESERVE FACILITY KITCHEN EQUIPMENT (OTHER THAN REFRIGERATORS, FREEZERS, AND ICE MACHINES) | XXXX | Gas Range | 1 |  | Kitchen | Garland
VA701 | VA701-00001 | 3 | XXXX | ARM RESERVE FACILITY KITCHEN EQUIPMENT (OTHER THAN REFRIGERATORS, FREEZERS, AND ICE MACHINES) | XXXX | Deep Fryer | 1 |  | Kitchen | Cleveland |  | 1600223051685
VA701 | VA701-00001 | 3 | XXXX | ARM RESERVE FACILITY KITCHEN EQUIPMENT (OTHER THAN REFRIGERATORS, FREEZERS, AND ICE MACHINES) | XXXX | Skillet Table | 1 |  | Kitchen | Vulvcan | VG40 | 46-3019517
VA701 | VA701-00001 | 3 | XXXX | AUTOMATED ACCESS CONTROL SYSTEM INVENTORY | XXXX | Auto Access, Keycards | 4 |  | Exterior
VA701 | VA701-00001 | 3 | XXXX | AUTOMATED ACCESS CONTROL SYSTEM INVENTORY | XXXX | Auto Access, AIPHONES | 5 |  | Exterior
VA701 | VA701-00001 | 3 | XXXX | BACKFLOW PREVENTION DEVICE INVENTORY | XXXX | Backflow Preventer | 1 |  | Mech 130 | Wilkins | 375XL | 3795841 | 1"
VA701 | VA701-00001 | 3 | XXXX | BACKFLOW PREVENTION DEVICE INVENTORY | XXXX | Backflow Preventer | 1 |  | Mech 110 | Watts | LF009RP | 06454 | 3"
VA701 | VA701-00001 | 3 | XXXX | BACKFLOW PREVENTION DEVICE INVENTORY | XXXX | Backflow Preventer | 1 |  | Mech 110 | Watts | LF009M3Qt | 137159 | 3"
VA701 | VA701-00001 | 3 | XXXX | BOILER AND UPV INVENTORY | XXXX | Boiler B-1 | 1 | B-1 | Room 130 | LOCHINVAR KNIGHT | KN-6 | 111746503 |  | Natural Gas Condensing Boiler; 600,000 BTU/HR Input; Provide Flow Switch, Low-Water Cutoff with Manual Reset, Condensate Neutralization Kit, and Manufacturer's Control Panel
VA701 | VA701-00001 | 3 | XXXX | BOILER AND UPV INVENTORY | XXXX | Boiler B-2 | 1 | B-2 | Room 130 | LOCHINVAR KNIGHT | KN-6 | 111746504 |  | Natural Gas Condensing Boiler; 600,000 BTU/HR Input; Provide Flow Switch, Low-Water Cutoff with Manual Reset, Condensate Neutralization Kit, and Manufacturer's Control Panel
VA701 | VA701-00001 | 3 | XXXX | CIRCULATING PUMPS | XXXX | Pump CP-1 | 1 | CP-1 | Room 130 | BELL & GOSSETT | 80 SERIES |  | 150 GPM | Centrifugal Closed-Coupled Vertical Inline Pump; Pump selection with 30% Propylene Glycol
VA701 | VA701-00001 | 3 | XXXX | CIRCULATING PUMPS | XXXX | Booster Pump BP-1 | 1 | BP-1 | Room 130 | BELL & GOSSETT | PL-55 |  | 38 GPM | Centrifugal Booster Pump; Permanently lubricated ball bearings
VA701 | VA701-00001 | 3 | XXXX | CIRCULATING PUMPS | XXXX | Booster Pump BP-2 | 1 | BP-2 | Room 130 | BELL & GOSSETT | PL-55 |  | 38 GPM | Centrifugal Booster Pump; Permanently lubricated ball bearings
VA701 | VA701-00001 | 3 | XXXX | CIRCULATING PUMPS | XXXX | Pump HCP-1 | 1 | HCP-1 | Room 130 | BELL & GOSSETT | PL-30 |  | 10.2 GPM | Centrifugal Booster Pump; Permanently lubricated ball bearings
VA701 | VA701-00001 | 3 | XXXX | CIRCULATING PUMPS | XXXX | Pump HCP-2 | 1 | HCP-2 | Room 130 | BELL & GOSSETT | PL-30 |  | 13.2 GPM | Centrifugal Booster Pump; Permanently lubricated ball bearings
VA701 | VA701-00001 | 3 | XXXX | CIRCULATING PUMPS | XXXX | Pump HCP-3 | 1 | HCP-3 | Room 133 | BELL & GOSSETT | PL-30 |  | 5.1 GPM | Centrifugal Booster Pump; Permanently lubricated ball bearings
VA701 | VA701-00001 | 3 | XXXX | CIRCULATING PUMPS | XXXX | Pump DWP-1 | 1 | DWP-1 | Room 110 | BELL & GOSSETT | PL-30 |  | 3.7 GPM | Centrifugal Booster Pump; Permanently lubricated ball bearings
VA701 | VA701-00001 | 3 | XXXX | CIRCULATING PUMPS | XXXX | Pump DWP-2 | 1 | DWP-2 | Room 110 | BELL & GOSSETT | PL-30 |  | 3.7 GPM | Centrifugal Booster Pump; Permanently lubricated ball bearings
VA701 | VA701-00001 | 3 | XXXX | CIRCULATING PUMPS | XXXX | Glycol Pump GP-1 | 1 | GP-1 | Room 130 | BELL & GOSSETT |  |  | 1.7 GPM | Provided with Glycol Make-Up Package, see detail 3/M-502
VA701 | VA701-00001 | 3 | XXXX | EMERGENCY EXIT SIGN INVENTORY | XXXX | Exit Signs | 19 |  | Throughout
VA701 | VA701-00001 | 3 | XXXX | EXHAUST AND TRANSFER FAN INVENTORY | XXXX | Roof Hood Exhaust RH-1 | 1 | RH-1 | ROOF | GREENHECK | WRH SERIES |  | 1,380 CFM | Tiered Gravity Ventilator; Motorized Damper at Hood shall open upon EF-7 or EF-8 Operation.
VA701 | VA701-00001 | 3 | XXXX | EXHAUST AND TRANSFER FAN INVENTORY | XXXX | Roof Hood Relief RH-2 | 1 | RH-2 | ROOF | GREENHECK | WRH SERIES |  | 4,500 CFM | Tiered Gravity Ventilator
VA701 | VA701-00001 | 3 | XXXX | EXHAUST AND TRANSFER FAN INVENTORY | XXXX | Exhaust Fan EF-1 | 1 | EF-1 | Room 130 | GREENHECK | CSP-A390 | 15004406 | 310 CFM | Inline Cabinet Fan, factory installed FSC
VA701 | VA701-00001 | 3 | XXXX | EXHAUST AND TRANSFER FAN INVENTORY | XXXX | Exhaust Fan EF-2 | 1 | EF-2 | Room 130 | GREENHECK | BSQ-130-7-X |  | 2070 CFM | Inline Fan
VA701 | VA701-00001 | 3 | XXXX | EXHAUST AND TRANSFER FAN INVENTORY | XXXX | Exhaust Fan EF-3 | 1 | EF-3 | Room 130 | GREENHECK | CSP-A700 | 15004415 | 400 CFM | Inline Cabinet Fan, factory installed FSC
VA701 | VA701-00001 | 3 | XXXX | EXHAUST AND TRANSFER FAN INVENTORY | XXXX | Exhaust Fan EF-4 | 1 | EF-4 | ROOF | GREENHECK | CUE-090-D-X | 15003728-17E | 450 CFM | Roof Upblast Exhaust Fan, Factory installed FSC
VA701 | VA701-00001 | 3 | XXXX | EXHAUST AND TRANSFER FAN INVENTORY | XXXX | Exhaust Fan EF-5 | 1 | EF-5 | ROOF | GREENHECK | CUE-090-D-X | 15003729-17E | 450 CFM | Roof Upblast Exhaust Fan, Factory installed FSC
VA701 | VA701-00001 | 3 | XXXX | EXHAUST AND TRANSFER FAN INVENTORY | XXXX | Exhaust Fan EF-6 | 1 | EF-6 | ROOF | GREENHECK | CUBE-161-115-6 | 15003730-17E | 2,700 CFM | Roof Upblast Exhaust Fan
VA701 | VA701-00001 | 3 | XXXX | EXHAUST AND TRANSFER FAN INVENTORY | XXXX | Exhaust Fan EF-7 | 1 | EF-7 | Room 110 | GREENHECK | CSP-A390 | 15004407-17E | 310 CFM | Inline Cabinet Fan, factory installed FSC
VA701 | VA701-00001 | 3 | XXXX | EXHAUST AND TRANSFER FAN INVENTORY | XXXX | Exhaust Fan EF-8 | 1 | EF-8 | Room 112 | GREENHECK |  |  | 1,070 CFM | Inline Fan
VA701 | VA701-00001 | 3 | XXXX | EXHAUST AND TRANSFER FAN INVENTORY | XXXX | Exhaust Fan EF-9 | 1 | EF-9 | Room 106B | GREENHECK |  |  | 75 CFM | Inline Cabinet Fan, factory installed FSC
VA701 | VA701-00001 | 3 | XXXX | EXHAUST AND TRANSFER FAN INVENTORY | XXXX | Transfer Fan TF-1 | 1 | TF-1 | Room 125 | GREENHECK |  |  | 45 CFM | Inline Cabinet Fan, factory installed FSC
VA701 | VA701-00001 | 3 | XXXX | EXHAUST AND TRANSFER FAN INVENTORY | XXXX | Transfer Fan TF-2 | 1 | TF-2 | Room 104 | GREENHECK |  |  | 45 CFM | Inline Cabinet Fan, factory installed FSC
VA701 | VA701-00001 | 3 | XXXX | EXHAUST AND TRANSFER FAN INVENTORY | XXXX | Transfer Fan TF-3 | 1 | TF-3 | Room 110 | GREENHECK |  |  | 120 CFM | Inline Cabinet Fan, factory installed FSC
VA701 | VA701-00001 | 3 | XXXX | EXHAUST AND TRANSFER FAN INVENTORY | XXXX | Louver L-1 | 1 | L-1 | Relief | KYNAR
VA701 | VA701-00001 | 3 | XXXX | EXHAUST AND TRANSFER FAN INVENTORY | XXXX | Louver L-2 | 1 | L-2 | Relief | KYNAR
VA701 | VA701-00001 | 3 | XXXX | EXHAUST AND TRANSFER FAN INVENTORY | XXXX | Louver L-3 | 1 | L-3 | Exhaust | KYNAR
VA701 | VA701-00001 | 3 | XXXX | EXHAUST AND TRANSFER FAN INVENTORY | XXXX | Louver L-4 | 1 | L-4 | Intake | KYNAR
VA701 | VA701-00001 | 3 | XXXX | EXHAUST AND TRANSFER FAN INVENTORY | XXXX | Louver L-5 | 1 | L-5 | Intake | KYNAR
VA701 | VA701-00001 | 3 | XXXX | EXHAUST AND TRANSFER FAN INVENTORY | XXXX | Louver L-6 | 1 | L-6 | Exhaust | KYNAR
VA701 | VA701-00001 | 3 | XXXX | EXHAUST AND TRANSFER FAN INVENTORY | XXXX | Louver L-7 | 1 | L-7 | Intake | KYNAR
VA701 | VA701-00001 | 3 | XXXX | EXHAUST AND TRANSFER FAN INVENTORY | XXXX | Louver L-8 | 1 | L-8 | Intake | KYNAR
VA701 | VA701-00001 | 3 | XXXX | EXHAUST AND TRANSFER FAN INVENTORY | XXXX | Louver L-9 | 1 | L-9 | Exhaust | KYNAR
VA701 | VA701-00001 | 3 | XXXX | EXHAUST AND TRANSFER FAN INVENTORY | XXXX | Louver L-10 | 1 | L-10 | Intake | KYNAR
VA701 | VA701-00001 | 3 | XXXX | EXHAUST AND TRANSFER FAN INVENTORY | XXXX | Louver L-11 | 1 | L-11 | Intake | KYNAR
VA701 | VA701-00001 | 3 | XXXX | EXHAUST AND TRANSFER FAN INVENTORY | XXXX | Louver L-12 | 1 | L-12 | Exhaust | KYNAR
VA701 | VA701-00001 | 3 | XXXX | EXHAUST AND TRANSFER FAN INVENTORY | XXXX | Louver L-13 | 1 | L-13 | Intake | KYNAR
VA701 | VA701-00001 | 3 | XXXX | EXHAUST AND TRANSFER FAN INVENTORY | XXXX | Louver L-14 | 1 | L-14 | Exhaust | KYNAR
VA701 | VA701-00001 | 3 | XXXX | EXHAUST AND TRANSFER FAN INVENTORY | XXXX | Louver L-15 | 1 | L-15 | Exhaust | KYNAR
VA701 | VA701-00001 | 3 | XXXX | EXHAUST AND TRANSFER FAN INVENTORY | XXXX | Louver L-16 | 1 | L-16 | Exhaust | KYNAR
VA701 | VA701-00001 | 3 | XXXX | EXHAUST AND TRANSFER FAN INVENTORY | XXXX | Louver L-17 | 1 | L-17 | Intake | KYNAR
VA701 | VA701-00001 | 3 | XXXX | EXHAUST AND TRANSFER FAN INVENTORY | XXXX | Louver L-18 | 1 | L-18 | Exhaust | KYNAR
VA701 | VA701-00001 | 3 | XXXX | EXHAUST AND TRANSFER FAN INVENTORY | XXXX | Louver L-19 | 1 | L-19 | Intake | KYNAR
VA701 | VA701-00001 | 3 | XXXX | EXHAUST AND TRANSFER FAN INVENTORY | XXXX | Air Curtain | 1 |  | Kitchen | Berner
VA701 | VA701-00001 | 3 | XXXX | EXHAUST HOODS AND DUCTS INVENTORY | XXXX | Kitchen Exhaust Hood KH-1 | 1 | KH-1 | Kitchen | ACCUREX | XD2-3600-S | 15163616 | 2,700 CFM | Associated with EF-6; Exhaust Only Wall Canopy Hood; Removable S.S. Centrif. Filters
VA701 | VA701-00001 | 3 | XXXX | EXHAUST HOODS AND DUCTS INVENTORY | XXXX | Kitchen Exhaust Hood KH-2 | 1 | KH-2 | Kitchen | ACCUREX | XD2-3800-S | 15163615 | 450 CFM | Associated with EF-5; Exhaust Only Wall Canopy Hood; Removable Aluminum Baffle Filters
VA701 | VA701-00001 | 3 | XXXX | EXHAUST HOODS AND DUCTS INVENTORY | XXXX | Kitchen Exhaust Hood KH-3 | 1 | KH-3 | Kitchen | ACCUREX | XBEW-17500-S | 15163614 | 2,700 CFM | Associated with EF-4; Exhaust Only Wall Canopy Hood; Removable Aluminum Baffle Filters
VA701 | VA701-00001 | 3 | XXXX | EXTERIOR LIGHTING PHOTOCELL CONTACTORS AND/OR TIME CLOCKS | XXXX | Time Clock | 1 |  | Room 131 Electrical | TORK | EWZ101
VA701 | VA701-00001 | 3 | XXXX | FAN COILS AND UNIT HEATERS INVENTORY | XXXX | Fan Coil Unit FCU-1 | 1 | FCU-1 | Room 106 Mail | DAIKIN | FCHG2 |  | 300 CFM | Horizontal Cased FCU with 3-Row Chilled Water Coil, 2-Row Hot Water Coil, Direct Drive Fan; Chilled Water Contains 30% Propylene Glycol
VA701 | VA701-00001 | 3 | XXXX | FAN COILS AND UNIT HEATERS INVENTORY | XXXX | Fan Coil Unit FCU-2 | 1 | FCU-2 | Room 100 | DAIKIN | FCHG2 |  | 300 CFM | Horizontal Cased FCU with 3-Row Hot Water Coil, Direct Drive Fan
VA701 | VA701-00001 | 3 | XXXX | FAN COILS AND UNIT HEATERS INVENTORY | XXXX | Unit Heater UH-1 | 1 | UH-1 | Room 130 | DAIKIN | 669010200 |  | 1120 CFM | Suspended Hot Water Unit Heater
VA701 | VA701-00001 | 3 | XXXX | FAN COILS AND UNIT HEATERS INVENTORY | XXXX | Unit Heater UH-2 | 1 | UH-2 | Room 133 | DAIKIN | 669010200 |  | 1120 CFM | Suspended Hot Water Unit Heater
VA701 | VA701-00001 | 3 | XXXX | FAN COILS AND UNIT HEATERS INVENTORY | XXXX | Unit Heater UH-3 | 1 | UH-3 | Room 133 | DAIKIN | 669010200 |  | 1120 CFM | Suspended Hot Water Unit Heater
VA701 | VA701-00001 | 3 | XXXX | FAN COILS AND UNIT HEATERS INVENTORY | XXXX | Unit Heater UH-4 | 1 | UH-4 | Room 133A | DAIKIN | 669010200 |  | 1120 CFM | Suspended Hot Water Unit Heater
VA701 | VA701-00001 | 3 | XXXX | FAN COILS AND UNIT HEATERS INVENTORY | XXXX | Unit Heater UH-5 | 1 | UH-5 | Room 133 | DAIKIN | 669010000 |  | 1120 CFM | Suspended Hot Water Unit Heater
VA701 | VA701-00001 | 3 | XXXX | FAN COILS AND UNIT HEATERS INVENTORY | XXXX | Unit Heater UH-6 | 1 | UH-6 | Room 110 | DAIKIN | 669010000 |  | 730 CFM | Suspended Hot Water Unit Heater
VA701 | VA701-00001 | 3 | XXXX | FAN COILS AND UNIT HEATERS INVENTORY | XXXX | Unit Heater UH-7 | 1 | UH-7 | Room 109 | DAIKIN | 669010000 |  | 340 CFM | Suspended Hot Water Unit Heater
VA701 | VA701-00001 | 3 | XXXX | FAN COILS AND UNIT HEATERS INVENTORY | XXXX | Electric Heater EH-1 | 1 | EH-1 | Room 131 | Taskmaster | HF1B5103N |  |  | Taskmaster Heavy Duty; Suspended; Built-In Thermostat
VA701 | VA701-00001 | 3 | XXXX | FAN COILS AND UNIT HEATERS INVENTORY | XXXX | Electric Heater EH-2 | 1 | EH-2 | Room 108 | Taskmaster | HF1B5103N |  |  | Wall Mounted Heater; Integral Single Pole Thermostat
VA701 | VA701-00001 | 3 | XXXX | FENCE INVENTORY | XXXX | Fence, Chainlink Barbed Wire | 800 LF |  | Exterior
VA701 | VA701-00001 | 3 | XXXX | GATE INVENTORY | XXXX | Auotmatic Gate | 1 |  | Exterior | Liftmaster | SL585101U | 2118N0925
VA701 | VA701-00001 | 3 | XXXX | GATE INVENTORY | XXXX | Manual Gate, Vehicle Swing Arm | 2 |  | Exterior
VA701 | VA701-00001 | 3 | XXXX | GATE INVENTORY | XXXX | Manual Gate, Vehicle Sliding | 2 |  | Exterior
VA701 | VA701-00001 | 3 | XXXX | GATE INVENTORY | XXXX | Manual Gate, Walkway Swinging | 1 |  | Exterior
VA701 | VA701-00001 | 3 | XXXX | GREASE TRAP INVENTORY | XXXX | Grease Trap | 1 |  | Exterior
VA701 | VA701-00001 | 3 | XXXX | HUMIDIFIERS INVENTORY | XXXX | Dehumidifier DH-1 | 1 | DH-1 | Vault | FRIGIDAIRE | FAD704DWD0A |  | 70 pints/day | Wall mounted unit; Continuous drain
VA701 | VA701-00001 | 3 | XXXX | HVAC AND REFRIGERATION SYSTEM INVENTORY | XXXX | Air Handling Unit AHU-1 | 1 | AHU-1 | Room 130 | MCQUAY | CAH015GDGM | FB0U170502587 | 5,800 CFM | MERV 8 Pleated Pre filter; MERV 13 Cartridge Final Filter
VA701 | VA701-00001 | 3 | XXXX | HVAC AND REFRIGERATION SYSTEM INVENTORY | XXXX | Air Handling Unit AHU-2 | 1 | AHU-2 | Room 130 | MCQUAY | CAH013GDGM | FB0U170502588 | 4,800 CFM | MERV 8 Pleated Pre filter; MERV 13 Cartridge Final Filter
VA701 | VA701-00001 | 3 | XXXX | HVAC AND REFRIGERATION SYSTEM INVENTORY | XXXX | Air Handling Unit AHU-3 | 1 | AHU-3 | Room 110 | MCQUAY | CAH013GDGM | FB0U170502589 | 4,800 CFM | MERV 8 Pleated Pre filter; MERV 13 Cartridge Final Filter
VA701 | VA701-00001 | 3 | XXXX | HVAC AND REFRIGERATION SYSTEM INVENTORY | XXXX | ERV - Indoor Energy Recovery Ventilator ERV-1 | 1 | ERV-1 | Room 133 | GREENHECK | ERCH-20-15H-HW-01 |  | 1,735 CFM | 2" Pleated Filters Upstream of Wheel in Both Airstreams (MERV 8 and 13 in Outdoor Air, MERV 8 in Exhaust Air)
VA701 | VA701-00001 | 3 | XXXX | HVAC AND REFRIGERATION SYSTEM INVENTORY | XXXX | Chiller CH-1 | 1 | CH-1 | OUTSIDE | DAIKIN | AGZ075EDSEMN00 | STNU171100067 | 150 GPM | Air-Cooled Chiller; 75 Ton; Scroll Compressor
VA701 | VA701-00001 | 3 | XXXX | HVAC CONTROL SYSTEMS | XXXX | Control Panel for UH-1 | 1 |  | Room 130
VA701 | VA701-00001 | 3 | XXXX | HVAC CONTROL SYSTEMS | XXXX | Control Panel for UH-2 | 1 |  | Room 133
VA701 | VA701-00001 | 3 | XXXX | HVAC CONTROL SYSTEMS | XXXX | Control Panel for UH-3 | 1 |  | Room 133
VA701 | VA701-00001 | 3 | XXXX | HVAC CONTROL SYSTEMS | XXXX | Control Panel for UH-4 | 1 |  | Room 133A
VA701 | VA701-00001 | 3 | XXXX | HVAC CONTROL SYSTEMS | XXXX | Control Panel for UH-5 | 1 |  | Room 133
VA701 | VA701-00001 | 3 | XXXX | HVAC CONTROL SYSTEMS | XXXX | Control Panel for UH-6 | 1 |  | Room 110
VA701 | VA701-00001 | 3 | XXXX | HVAC CONTROL SYSTEMS | XXXX | Control Panel for UH-7 | 1 |  | Room 109
VA701 | VA701-00001 | 3 | XXXX | HVAC CONTROL SYSTEMS | XXXX | Variable Frequency Drive - VFD | 1 |  | Mech 130 | ABB
VA701 | VA701-00001 | 3 | XXXX | HVAC CONTROL SYSTEMS | XXXX | Variable Frequency Drive - VFD | 1 |  | Mech 130 | ABB
VA701 | VA701-00001 | 3 | XXXX | HVAC CONTROL SYSTEMS | XXXX | Variable Frequency Drive - VFD | 1 |  | Mech 130 | ABB
VA701 | VA701-00001 | 3 | XXXX | HVAC CONTROL SYSTEMS | XXXX | Variable Frequency Drive - VFD | 1 |  | Mech 130 | ABB
VA701 | VA701-00001 | 3 | XXXX | HVAC CONTROL SYSTEMS | XXXX | Variable Frequency Drive - VFD | 1 |  | Mech 130 | ABB
VA701 | VA701-00001 | 3 | XXXX | HVAC CONTROL SYSTEMS | XXXX | Variable Frequency Drive - VFD | 1 |  | Mech 130 | ABB
VA701 | VA701-00001 | 3 | XXXX | HVAC CONTROL SYSTEMS | XXXX | Variable Frequency Drive - VFD | 1 |  | Mech 130 | ABB
VA701 | VA701-00001 | 3 | XXXX | HVAC CONTROL SYSTEMS | XXXX | Control Panel for EF-3 | 1 |  | Mech 130
VA701 | VA701-00001 | 3 | XXXX | HVAC CONTROL SYSTEMS | XXXX | Control Panel for ACM | 1 |  | Mech 130
VA701 | VA701-00001 | 3 | XXXX | HVAC CONTROL SYSTEMS | XXXX | Control Panel for Chilled Water | 1 |  | Mech 130
VA701 | VA701-00001 | 3 | XXXX | HVAC CONTROL SYSTEMS | XXXX | Control Panel for Hot Water | 1 |  | Mech 130
VA701 | VA701-00001 | 3 | XXXX | HVAC CONTROL SYSTEMS | XXXX | Control Panel for AHU-1 | 1 |  | Mech 130
VA701 | VA701-00001 | 3 | XXXX | HVAC CONTROL SYSTEMS | XXXX | Control Panel for AHU-2 | 1 |  | Mech 130
VA701 | VA701-00001 | 3 | XXXX | HVAC CONTROL SYSTEMS | XXXX | Control Panel for DSS-1 | 1 |  | Room 118
VA701 | VA701-00001 | 3 | XXXX | HVAC CONTROL SYSTEMS | XXXX | Variable Frequency Drive - VFD | 1 |  | Mech 110 | ABB
VA701 | VA701-00001 | 3 | XXXX | HVAC CONTROL SYSTEMS | XXXX | Control Panel for AHU-3 | 1 |  | Mech 110
VA701 | VA701-00001 | 3 | XXXX | HVAC CONTROL SYSTEMS | XXXX | Control Panel for EF-7 | 1 |  | Mech 110
VA701 | VA701-00001 | 3 | XXXX | HVAC CONTROL SYSTEMS | XXXX | Control Panel for EF-8 | 1 |  | Mech 110
VA701 | VA701-00001 | 3 | XXXX | HVAC WATER DISTRIBUTION SYSTEMS | XXXX | Pump CWP-1 | 1 | CWP-1 | Room 130 | BELL & GOSSETT | 80 SERIES |  | 190 GPM | Centrifugal Closed-Coupled Vertical Inline Pump; Pump selection with 30% Propylene Glycol
VA701 | VA701-00001 | 3 | XXXX | HVAC WATER DISTRIBUTION SYSTEMS | XXXX | Pump HWP-1 | 1 | HWP-1 | Room 130 | BELL & GOSSETT | 80 SERIES |  | 110 GPM | Centrifugal Closed-Coupled Vertical Inline Pump
VA701 | VA701-00001 | 3 | XXXX | HVAC WATER DISTRIBUTION SYSTEMS | XXXX | Pump HWP-2 | 1 | HWP-2 | Room 130 | BELL & GOSSETT | 80 SERIES |  | 110 GPM | Centrifugal Closed-Coupled Vertical Inline Pump
VA701 | VA701-00001 | 3 | XXXX | HVAC WATER DISTRIBUTION SYSTEMS | XXXX | Expansion Tank ET-1 | 1 | ET-1 | Room 130 | BELL & GOSSETT | B200 | 370145 | 475 gallon | Chilled Water; Pre-Charged Bladder Type Vertical Expansion Tank, fluid contains 30% Propylene Glycol
VA701 | VA701-00001 | 3 | XXXX | HVAC WATER DISTRIBUTION SYSTEMS | XXXX | Expansion Tank ET-2 | 1 | ET-2 | Room 130 | BELL & GOSSETT | B300 | 369678 | 450 gallon | Hot Water; Pre-Charged Bladder Type Vertical Expansion Tank
VA701 | VA701-00001 | 3 | XXXX | HVAC WATER DISTRIBUTION SYSTEMS | XXXX | Storage Tank, Chilled Water - BT-1-Buffer Tank | 1 | BT-1 | Mech 130
VA701 | VA701-00001 | 3 | XXXX | HVAC WATER DISTRIBUTION SYSTEMS | XXXX | Air Seperator | 1 |  | Mech 130 | BELL & GOSSETT | XYLEM | 301891
VA701 | VA701-00001 | 3 | XXXX | HVAC WATER DISTRIBUTION SYSTEMS | XXXX | Air Seperator (Covered in Insulation) | 1 |  | Mech 130
VA701 | VA701-00001 | 3 | XXXX | HVAC WATER DISTRIBUTION SYSTEMS | XXXX | Expansion Tank, ET | 1 |  | Mech 110 | Mainline | MLST30V119-027 | 14917817
VA701 | VA701-00001 | 3 | XXXX | HVAC WATER TREATMENT PROGRAM | XXXX | Chemical Bypass Feeders - CHEM-1 | 1 | CHEM-1 | Mech 130 | NEPTUNE | DBF-5HP
VA701 | VA701-00001 | 3 | XXXX | HVAC WATER TREATMENT PROGRAM | XXXX | Chemical Bypass Feeders - CHEM-2 | 1 | CHEM-2 | Mech 130 | NEPTUNE | DBF-5HP
VA701 | VA701-00001 | 3 | XXXX | HVAC WATER TREATMENT PROGRAM | XXXX | HVAC Water Treatment | 1 |  | Mech
VA701 | VA701-00001 | 3 | XXXX | INTERIOR AND EXTERIOR LIGHTING SYSTEMS | XXXX | Interior Light Fixtures | 392 |  | Throughout
VA701 | VA701-00001 | 3 | XXXX | INTERIOR AND EXTERIOR LIGHTING SYSTEMS | XXXX | LED Wall Pack Lights | 11 |  | Exterior
VA701 | VA701-00001 | 3 | XXXX | INTERIOR AND EXTERIOR LIGHTING SYSTEMS | XXXX | LED Walkway Lights | 5 |  | Exterior
VA701 | VA701-00001 | 3 | XXXX | INTERIOR AND EXTERIOR LIGHTING SYSTEMS | XXXX | LED Flagpole Lights | 3 |  | Exterior
VA701 | VA701-00001 | 3 | XXXX | LIGHTNING ARRESTORS AND GROUNDING DEVICES | XXXX | Grounding Buss Bar | 1 |  | Room 118
VA701 | VA701-00001 | 3 | XXXX | LIGHTNING ARRESTORS AND GROUNDING DEVICES | XXXX | Lightning Rods | 100 |  | Roof
VA701 | VA701-00001 | 3 | XXXX | MILITARY EQUIPMENT PARKING (MEP) AREA LIGHTS | XXXX | LED Military Equipment Parking Pole Lights (Single) | 9 |  | Exterior
VA701 | VA701-00001 | 3 | XXXX | MINI-SPLIT INVENTORY | XXXX | Mini Split Indoor FCU DSS-1 | 1 | DSS-1 | Room 118 | MITSUBISHI | PKA-A18HA7 | 76A04745C | 425 CFM | Wall Mounted Indoor Unit Model PKA-A18HA4; Heat Pump Model PUZ-A18NHA4 Outdoor Unit
VA701 | VA701-00001 | 3 | XXXX | MINI-SPLIT INVENTORY | XXXX | Mini Split Indoor FCU DSS-2 | 1 | DSS-2 |  | MITSUBISHI | PKA-A24KA4 |  | 775 CFM | Wall Mounted Indoor Unit Model PKA-A24KA4; Heat Pump Model PUZ-A24NHA4 Outdoor Unit
VA701 | VA701-00001 | 3 | XXXX | MINI-SPLIT INVENTORY | XXXX | Mini Split Outdoor Condensing Unit DCU-1 | 1 | DCU-1 | ROOF | MITSUBISHI | PUZ-A18NKA7 |  |  | Wall Mounted Indoor Unit Model PKA-A18HA4; Heat Pump Model PUZ-A18NHA4 Outdoor Unit
VA701 | VA701-00001 | 3 | XXXX | MINI-SPLIT INVENTORY | XXXX | Mini Split Outdoor Condensing Unit DCU-2 | 1 | DCU-2 | ROOF | MITSUBISHI | PUZ-A24NHA7 |  |  | Wall Mounted Indoor Unit Model PKA-A24KA4; Heat Pump Model PUZ-A24NHA4 Outdoor Unit
VA701 | VA701-00001 | 3 | XXXX | OVERHEAD DOOR INVENTORY | XXXX | Roll Up Door Window, Auto 9ft | 1 |  | Kitchen | Cornell | S027082980-001
VA701 | VA701-00001 | 3 | XXXX | OVERHEAD DOOR INVENTORY | XXXX | Roll Up Door Window, Auto 4ft | 1 |  | Kitchen | Cornell | S027082980-002
VA701 | VA701-00001 | 3 | XXXX | OVERHEAD DOOR INVENTORY | XXXX | Overhead Door, Auto | 1 |  | Room 133 | Liftmaster | T51L5 | 4117N2238
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Women's Toilet | 1 |  | Room 127 |  |  |  |  | Women's RestRoom
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Women's Toilet | 1 |  | Room 127 |  |  |  |  | Women's RestRoom
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Women's Toilet | 1 |  | Room 127 |  |  |  |  | Women's Shower
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Women's Toilet | 1 |  | Room 127
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Women's Sink | 1 |  | Room 127
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Women's Sink | 1 |  | Room 127
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Women's Sink | 1 |  | Room 127
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Women's Sink | 1 |  | Room 127
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Women's Shower | 1 |  | Room 127A
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Women's Shower | 1 |  | Room 127A
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Women's Shower | 1 |  | Room 127A
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Women's Shower | 1 |  | Room 127A
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Women's Shower | 1 |  | Room 127A
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Women's Shower | 1 |  | Room 127A
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Men's Toilet | 1 |  | Room 126
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Men's Toilet | 1 |  | Room 126
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Men's Toilet | 1 |  | Room 126
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Men's Toilet | 1 |  | Room 126
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Men's Sink | 1 |  | Room 126
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Men's Sink | 1 |  | Room 126
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Men's Sink | 1 |  | Room 126
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Men's Sink | 1 |  | Room 126
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Men's Sink | 1 |  | Room 126
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Men's Sink | 1 |  | Room 126
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Men's Urinal | 1 |  | Room 126
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Men's Urinal | 1 |  | Room 126
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Men's Shower | 1 |  | Room 126A
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Men's Shower | 1 |  | Room 126A
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Men's Shower | 1 |  | Room 126A
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Men's Shower | 1 |  | Room 126A
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Men's Shower | 1 |  | Room 126A
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Men's Shower | 1 |  | Room 126B Men's Locker
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Men's Shower | 1 |  | Room 126B Men's Locker
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Men's Shower | 1 |  | Room 126B Men's Locker
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Men's Shower | 1 |  | Room 126B Men's Locker
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Women's Toilet | 1 |  | Room 113
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Women's Toilet | 1 |  | Room 113
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Women's Sink | 1 |  | Room 113
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Women's Sink | 1 |  | Room 113
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Men's Sink | 1 |  | Room 112
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Men's Sink | 1 |  | Room 112
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Men's Toilet | 1 |  | Room 112
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Men's Urinal | 1 |  | Room 112
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Janitor's Sink | 1 |  | Room 114
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Lactation Area Sink | 1 |  | Room 111
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Sink Double Basin | 1 |  | Room 115
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Drinking Fountain, Dual Unit, Bottle Filler | 1 |  | Outside 126 | Elkay | LZSTL8WS_1G | 181225778
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Drinking Fountain, Single Unit, Bottle Filler | 1 |  | Gym | Elkay | LZS8WS_1F | 170917884
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Sink, 3 Basin | 1 |  | Kitchen | Advanced Tabco
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Sink, 2 Basin | 1 |  | Kitchen | Advanced Tabco
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Sink, handwash | 1 |  | Kitchen | Advanced Tabco | 7-PS-80
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Sink, handwash | 1 |  | Kitchen | Advanced Tabco | 7-PS-80
VA701 | VA701-00001 | 3 | XXXX | PLUMBING FIXTURE INVENTORY | XXXX | Sink, Long Handle Spray | 1 |  | Kitchen
VA701 | VA701-00001 | 3 | XXXX | PRIVATELY OWNED VEHICLE (POV) PARKING AREA LIGHT INVENTORY | XXXX | LED POV Light Pole Lights (Single) | 13 |  | Exterior
VA701 | VA701-00001 | 3 | XXXX | PRIVATELY OWNED VEHICLE (POV) PARKING AREA LIGHT INVENTORY | XXXX | LED POV Light Pole Lights (Double) | 2 |  | Exterior
VA701 | VA701-00001 | 3 | XXXX | REFRIGERATORS, FREEZERS, AND ICE MACHINE EQUIPMENT INVENTORY | XXXX | Ice Maker | 1 |  | Kitchen | Manitowoc
VA701 | VA701-00001 | 3 | XXXX | REFRIGERATORS, FREEZERS, AND ICE MACHINE EQUIPMENT INVENTORY | XXXX | Freezer | 1 |  | Kitchen | Traulsen | RLT132WUT-FHS | T54865B19
VA701 | VA701-00001 | 3 | XXXX | REFRIGERATORS, FREEZERS, AND ICE MACHINE EQUIPMENT INVENTORY | XXXX | Refrigerator, Double Door | 1 |  | Kitchen | Contenental | DL2RE-SS | 15951890
VA701 | VA701-00001 | 3 | XXXX | REFRIGERATORS, FREEZERS, AND ICE MACHINE EQUIPMENT INVENTORY | XXXX | Refrigerator, Double Door | 1 |  | Kitchen | Traulsen | RHT232WUT-FHS-ES | T53977B19
VA701 | VA701-00001 | 3 | XXXX | REFRIGERATORS, FREEZERS, AND ICE MACHINE EQUIPMENT INVENTORY | XXXX | Refrigerator/Feezer Combo | 1 |  | Break Room | Whirlpool | WRT318FMDW05 | VS92375125
VA701 | VA701-00001 | 3 | XXXX | REFRIGERATORS, FREEZERS, AND ICE MACHINE EQUIPMENT INVENTORY | XXXX | Refrigerator/Feezer Combo | 1 |  | Break Room | FridgedAir | FFHT2032TS | 4A85002686
VA701 | VA701-00001 | 3 | XXXX | ROOF DRAINS / GUTTERS INVENTORY | XXXX | Gutters | 350 LF |  | Roof
VA701 | VA701-00001 | 3 | XXXX | ROOF DRAINS / GUTTERS INVENTORY | XXXX | Down Spouts | 21 |  | Roof
VA701 | VA701-00001 | 3 | XXXX | ROOFTOP UNIT INVENTORY | XXXX | Roof Top Unit RTU-1 | 1 | RTU-1 | ROOF | DPS007AHMG4DC-3 | FBOU17100881 |  | 3,000 CFM | Package Gas/Electric RTU; 4" Pleated MERV 13 Filters
VA701 | VA701-00001 | 3 | XXXX | SECURITY SYSTEMS AND EQUIPMENT INVENTORY | XXXX | Advantor Panel | 1 |  | Vault | Advantor
VA701 | VA701-00001 | 3 | XXXX | SECURITY SYSTEMS AND EQUIPMENT INVENTORY | XXXX | Securiy Keypad | 1 |  | Vault
VA701 | VA701-00001 | 3 | XXXX | SECURITY SYSTEMS AND EQUIPMENT INVENTORY | XXXX | Altronix Panel | 1 |  | Vault | Altronix
VA701 | VA701-00001 | 3 | XXXX | SECURITY SYSTEMS AND EQUIPMENT INVENTORY | XXXX | Secuirty Motion Sensors | 7 |  | Vault
VA701 | VA701-00001 | 3 | XXXX | THERMOSTAT INVENTORY | XXXX | Thermostats | 36 |  | Throughout
VA701 | VA701-00001 | 3 | XXXX | THERMOSTATIC MIXING VALVE INVENTORY | XXXX | Thermostatic Mixing Valve | 1 |  | Mech 110 | Leonar | XL1500722LF
VA701 | VA701-00001 | 3 | XXXX | VARIABLE AIR VOLUME (VAV) AND OTHER BOXES | XXXX | VAV Terminal Unit FPVAV-1 | 1 | FPVAV-1 |  | PRICE |  |  |  | Titus VAV Terminal Units and Hot Water Heating Coils
VA701 | VA701-00001 | 3 | XXXX | VARIABLE AIR VOLUME (VAV) AND OTHER BOXES | XXXX | VAV Terminal Unit FPVAV-2 | 1 | FPVAV-2 | Room 133 | PRICE | FDC5-1006 |  |  | Titus VAV Terminal Units and Hot Water Heating Coils
VA701 | VA701-00001 | 3 | XXXX | VARIABLE AIR VOLUME (VAV) AND OTHER BOXES | XXXX | VAV - Terminal Unit VAV-3 | 1 | VAV-3 | Room 133 | PRICE | SDV5-001 |  |  | Titus VAV Terminal Units and Hot Water Heating Coils
VA701 | VA701-00001 | 3 | XXXX | VARIABLE AIR VOLUME (VAV) AND OTHER BOXES | XXXX | VAV Terminal Unit FPVAV-4 | 1 | FPVAV-4 |  | PRICE |  |  |  | Titus VAV Terminal Units and Hot Water Heating Coils
VA701 | VA701-00001 | 3 | XXXX | VARIABLE AIR VOLUME (VAV) AND OTHER BOXES | XXXX | VAV Terminal Unit FPVAV-5 | 1 | FPVAV-5 |  | PRICE |  |  |  | Titus VAV Terminal Units and Hot Water Heating Coils
VA701 | VA701-00001 | 3 | XXXX | VARIABLE AIR VOLUME (VAV) AND OTHER BOXES | XXXX | VAV Terminal Unit FPVAV-6 | 1 | FPVAV-6 |  | PRICE |  |  |  | Titus VAV Terminal Units and Hot Water Heating Coils
VA701 | VA701-00001 | 3 | XXXX | VARIABLE AIR VOLUME (VAV) AND OTHER BOXES | XXXX | VAV Terminal Unit FPVAV-7 | 1 | FPVAV-7 |  | PRICE |  |  |  | Titus VAV Terminal Units and Hot Water Heating Coils
VA701 | VA701-00001 | 3 | XXXX | VARIABLE AIR VOLUME (VAV) AND OTHER BOXES | XXXX | VAV Terminal Unit FPVAV-8 | 1 | FPVAV-8 |  | PRICE |  |  |  | Titus VAV Terminal Units and Hot Water Heating Coils
VA701 | VA701-00001 | 3 | XXXX | VARIABLE AIR VOLUME (VAV) AND OTHER BOXES | XXXX | VAV Terminal Unit FPVAV-9 | 1 | FPVAV-9 |  | PRICE |  |  |  | Titus VAV Terminal Units and Hot Water Heating Coils
VA701 | VA701-00001 | 3 | XXXX | VARIABLE AIR VOLUME (VAV) AND OTHER BOXES | XXXX | VAV Terminal Unit FPVAV-10 | 1 | FPVAV-10 |  | PRICE |  |  |  | Titus VAV Terminal Units and Hot Water Heating Coils
VA701 | VA701-00001 | 3 | XXXX | VARIABLE AIR VOLUME (VAV) AND OTHER BOXES | XXXX | VAV Terminal Unit FPVAV-11 | 1 | FPVAV-11 |  | PRICE |  |  |  | Titus VAV Terminal Units and Hot Water Heating Coils
VA701 | VA701-00001 | 3 | XXXX | VARIABLE AIR VOLUME (VAV) AND OTHER BOXES | XXXX | VAV Terminal Unit FPVAV-12 | 1 | FPVAV-12 |  | PRICE |  |  |  | Titus VAV Terminal Units and Hot Water Heating Coils
VA701 | VA701-00001 | 3 | XXXX | VARIABLE AIR VOLUME (VAV) AND OTHER BOXES | XXXX | VAV Terminal Unit FPVAV-13 | 1 | FPVAV-13 |  | PRICE |  |  |  | Titus VAV Terminal Units and Hot Water Heating Coils
VA701 | VA701-00001 | 3 | XXXX | VARIABLE AIR VOLUME (VAV) AND OTHER BOXES | XXXX | VAV Terminal Unit FPVAV-14 | 1 | FPVAV-14 |  | PRICE |  |  |  | Titus VAV Terminal Units and Hot Water Heating Coils
VA701 | VA701-00001 | 3 | XXXX | VARIABLE AIR VOLUME (VAV) AND OTHER BOXES | XXXX | VAV Terminal Unit FPVAV-15 | 1 | FPVAV-15 |  | PRICE |  |  |  | Titus VAV Terminal Units and Hot Water Heating Coils
VA701 | VA701-00001 | 3 | XXXX | VARIABLE AIR VOLUME (VAV) AND OTHER BOXES | XXXX | VAV Terminal Unit VAV-16 | 1 | VAV-16 |  | PRICE |  |  |  | Titus VAV Terminal Units and Hot Water Heating Coils
VA701 | VA701-00001 | 3 | XXXX | VARIABLE AIR VOLUME (VAV) AND OTHER BOXES | XXXX | VAV Terminal Unit FPVAV-17 | 1 | FPVAV-17 |  | PRICE |  |  |  | Titus VAV Terminal Units and Hot Water Heating Coils
VA701 | VA701-00001 | 3 | XXXX | VARIABLE AIR VOLUME (VAV) AND OTHER BOXES | XXXX | VAV Terminal Unit FPVAV-18 | 1 | FPVAV-18 |  | PRICE |  |  |  | Titus VAV Terminal Units and Hot Water Heating Coils
VA701 | VA701-00001 | 3 | XXXX | VARIABLE AIR VOLUME (VAV) AND OTHER BOXES | XXXX | VAV Terminal Unit FPVAV-19 | 1 | FPVAV-19 |  | PRICE |  |  |  | Titus VAV Terminal Units and Hot Water Heating Coils
VA701 | VA701-00001 | 3 | XXXX | VARIABLE AIR VOLUME (VAV) AND OTHER BOXES | XXXX | VAV Terminal Unit FPVAV-20 | 1 | FPVAV-20 |  | PRICE |  |  |  | Titus VAV Terminal Units and Hot Water Heating Coils
VA701 | VA701-00001 | 3 | XXXX | VARIABLE AIR VOLUME (VAV) AND OTHER BOXES | XXXX | VAV Terminal Unit FPVAV-21 | 1 | FPVAV-21 |  | PRICE |  |  |  | Titus VAV Terminal Units and Hot Water Heating Coils
VA701 | VA701-00001 | 3 | XXXX | VARIABLE AIR VOLUME (VAV) AND OTHER BOXES | XXXX | VAV Terminal Unit FPVAV-22 | 1 | FPVAV-22 |  | PRICE |  |  |  | Titus VAV Terminal Units and Hot Water Heating Coils
VA701 | VA701-00001 | 3 | XXXX | VARIABLE AIR VOLUME (VAV) AND OTHER BOXES | XXXX | VAV Terminal Unit VAV-23 | 1 | VAV-23 |  | PRICE |  |  |  | Titus VAV Terminal Units and Hot Water Heating Coils
VA701 | VA701-00001 | 3 | XXXX | VAULT DOOR INVENTORY | XXXX | Vault Door | 1 |  | Vault | Brown Safe | MFG | BSVD65-A-T-11R-050605
VA701 | VA701-00001 | 3 | XXXX | WATER HEATER INVENTORY | XXXX | Water Heater, Booster | 1 |  | Kitchen | Hatco | 3CS-M9b | 7665211602
VA701 | VA701-00001 | 3 | XXXX | WATER HEATER INVENTORY | XXXX | Water Heater, Booster | 1 |  | Kitchen | Hatco |  |  |  | Could not access name plate
VA701 | VA701-00001 | 3 | XXXX | WATER HEATER INVENTORY | XXXX | Water Heater, Booster | 1 |  | Kitchen | Hatco | C-12 | 7665161602
VA701 | VA701-00001 | 3 | XXXX | WATER HEATER INVENTORY | XXXX | Water Heater, Domestic | 1 |  | Mech 110 | AO SMITH | BTH-400A300 | 1731107010359 |  | Has outlet Filter
VA701 | VA701-00002 | 3 | XXXX | INTERIOR AND EXTERIOR LIGHTING SYSTEMS | XXXX | Interior Light Fixtures | 16 |  | Throughout
VA701 | VA701-00002 | 3 | XXXX | INTERIOR AND EXTERIOR LIGHTING SYSTEMS | XXXX | LED Wall Pack Lights | 4 |  | Exterior
VA701 | VA701-00002 | 3 | XXXX | LIGHTNING ARRESTORS AND GROUNDING DEVICES | XXXX | Lightning Rods | 5 |  | Exterior
VA701 | VA701-00002 | 3 | XXXX | OVERHEAD DOOR INVENTORY | XXXX | Overhead Door, Auto | 1 |  | Storage 1 | Liftmaster
VA701 | VA701-00002 | 3 | XXXX | OVERHEAD DOOR INVENTORY | XXXX | Overhead Door, Auto | 1 |  | Storage 2 | Liftmaster
VA701 | VA701-00002 | 3 | XXXX | OVERHEAD DOOR INVENTORY | XXXX | Overhead Door, Auto | 1 |  | Storage 3 | Liftmaster
VA701 | VA701-00002 | 3 | XXXX | OVERHEAD DOOR INVENTORY | XXXX | Overhead Door, Auto | 1 |  | Storage 4 | Liftmaster
VA701 | VA701-00002 | 3 | XXXX | ROOF DRAINS / GUTTERS INVENTORY | XXXX | Down Spouts | 4 |  | Exterior
VA701 | VA701-00002 | 3 | XXXX | ROOF DRAINS / GUTTERS INVENTORY | XXXX | Gutters | 120 LF |  | Exterior