From: Joe Bayne <joe.bayne@cmimgmt.com> 
Sent: Tuesday, February 18, 2020 8:07 AM
To: Chris Evans <cevansunited@aol.com>
Cc: Vanessa Fernandez <vanessa.fernandez@cmimgmt.com>
Subject: RE: CSS 23262

Good morning Chris,

The contracting officer has approved the following additional work to proceed:

Please provide a scheduled date.

Site NY011

CSS # 23262

CMI WO # 6905

Asset # NA

Scope: Repair tiger pumps (2 Gould pumps) and install new regulator in well house which is inoperable.

Joe Bayne

Project Manager / 99th - Region 2

5285 Shawnee Road Suite #510

Alexandria, VA  22312

703-738-5304

joe.bayne@cmimgmt.com

This message (including any attachments) contains confidential or privileged information intended for a specific individual and purpose, and is protected by law.  If you are not the intended recipient, please notify the sender at (703) 738-5300.  Any disclosure, copying, or distribution of this message, or the taking of any action based on it, is strictly prohibited.

# From: Chris Evans <cevansunited@aol.com> 
Sent: Wednesday, February 12, 2020 9:51 AM
To: Joe Bayne <joe.bayne@cmimgmt.com>
Cc: Vanessa Fernandez <vanessa.fernandez@cmimgmt.com>
Subject: CSS 23262

Joe,

Both pumps at Bullville are functioning, pump #2 was shut off due to a leak previous quote addressed this. I have attached a revised quote to include replace a pressure regulator that is also leaking now.

Thank you,

Christina Evans

United Air Conditioning
845-561-5030 office

FAX 845-561-0038

cevansunited@aol.com