From: Joe Bayne <joe.bayne@cmimgmt.com> 
Sent: Friday, March 13, 2020 2:06 PM
To: Michele (Shelle) Dubois <mdubois@internationalsupportgroup.com>
Cc: Vanessa Fernandez <vanessa.fernandez@cmimgmt.com>
Subject: NY023 - AFR CSS 24487 - WO 7687

The contracting officer has approved the following additional work to proceed:

Site NY023

CSS # 24487

CMI WO #7687

Asset # NA

Scope: REMOVE BUBLING RUBBER ROOF AREA (APXM. 80 SQ.FT.). CLEAN THE AREA, LET IT DRY. SEAL THE DRAN. SEAL CORNERS, FLASHING. INSTALL NEW INSULATION, NEW EPDM RUBBER ROOF. SEAL ALL CONNECTED SEAMS.

Labor Cost is                 S1,360.00

Equipment cost is        $425.00

Total Cost                      $1,785.00

Joe Bayne

Project Manager / 99th - Region 2

5285 Shawnee Road Suite #510

Alexandria, VA  22312

703-738-5304

joe.bayne@cmimgmt.com

This message (including any attachments) contains confidential or privileged information intended for a specific individual and purpose, and is protected by law.  If you are not the intended recipient, please notify the sender at (703) 738-5300.  Any disclosure, copying, or distribution of this message, or the taking of any action based on it, is strictly prohibited.