From: Joe Bayne <joe.bayne@cmimgmt.com> 
Sent: Tuesday, March 3, 2020 1:40 PM
To: John Sullivan <jasullivanelect@gmail.com>
Cc: Vanessa Fernandez <vanessa.fernandez@cmimgmt.com>
Subject: NY050 - CSS 22138 - WO 6874

Good afternoon John,

The contracting officer has approved the following additional work to proceed: Please provide a scheduled date

Site NY059

CSS # 22138

CMI WO #6874

Asset # NA

Scope: Install New Circuits Truck Bay # 2; Repair Receptacles Truck Bay #1; Install 2 New 20 Amp Circuits from main panel box to truck bay # 2; Install 4- GFCI receptacles in two opposite walls for general use; Replace 4 - faulty GFCI receptacles in truck bay # 1; Install New circuit breakers for new circuit; Install EMT conduit/ MC cable for new wiring of circuits.

Joe Bayne

Project Manager / 99th - Region 2

5285 Shawnee Road Suite #510

Alexandria, VA  22312

703-738-5304

joe.bayne@cmimgmt.com

This message (including any attachments) contains confidential or privileged information intended for a specific individual and purpose, and is protected by law.  If you are not the intended recipient, please notify the sender at (703) 738-5300.  Any disclosure, copying, or distribution of this message, or the taking of any action based on it, is strictly prohibited.