 CERTIFICATION OF WORK
(To be completed by the Contractor and saved in the Contractor’s CMMS)

FACID/Building: NY-024 Building: 356 and building 208

Date of Visit: 9/19/23

Contractor Personnel on Site:

1. Joseph Benedetto/Fahrenheit Inc.

CSS: Preventive maintenance on all boilers for buildings #356 and #208

Service Order: Yes

Corrective Maintenance:

Service Order Work Performed:

Unit: 2- Triumph 500,000 btu condensing type boiler—2 Triad 900,000 btu verticle tube type boilers

Manufacturer: Triumph---Triad

Model# T C-900

Serial#: WT724-12-8335

Description:work completed as per proposal sent and approved

Repairs: Provided all preventive maintenance for 2-Triumph condensing type boilers and 2-verticle tube boilers for bldg #356 and bldg #208

To be signed by the Contractor: Print Name: Joseph Benedetto
Date: 9/19/23
Signed: Joseph Benedetto

To be signed by Facility Manager: I certify that the above named individuals representing the Contractor arrived on site and to the best of my knowledge, completed the stated work listed: Print Name/Rank: _Vinny Geordano________________________________________________
Date:_Sept 21, 2023 _________________
Signed: __Vincent J Giordano__________________________________________________
E-Mail: __________________________________________________________________