INVOICE #:	19-087  						Date 9/21/2019

Billing Address:							Job Location:

CMI management                                             CSS#21273

5285 Shawnee Rd. Suite#510                           NY024

Alexandria VA 22312

Proposal

Building 357:

Trace and locate short ckt. In lighting for exterior garage lights total of six

Remove ballast and lamps and replace with LED wall pack retrofit lamp total of six

Replace photo cell control

Check three high bay fixtures inside garage not operating and remove lamps and disconnect ballast replace with LED style lamp as in other three fixtures.

Building 356:

Check exterior light fixtures over doorways total of four told not operating by Vinny Giordanno

Supply and replace 42W triple tube compact fluorescent lamps total of eight

Labor cost for one Master Licensed Electrician     16HRS X$155.00

Total: $2,480

Material Cost:

Six LED HID replacement lamps                        Total: $540.00

Photo cell control total of one                             Total: $  42.00

Three LED replacement lamps for high bays      Total: $342.00

Sixteen PL 42 triple tube lamps                         Total: $288.00

Lamp disposal fee                                              Total: $  45.00

Total Job Cost: $3,737.00

**If ballasts are needed for PL 42 fixtures additional cost of $145.00 per replacement will be added to total**

All repairs except for PL fixtures are above 18 feet