Fahrenheit Incorporated

85 Farless Ave

Old Bridge, N.J.

Telephone (732) 673- 9318

E-mail: Celcius60@aol.com

PROPOSAL

| To: |  |
| --- | --- |
| Joe Bayne CMI Bldg #358 PROPOSAL |  |

PROPOSAL

DUE DATE

| P.0. # Invoice # Date |  | Project |  |
| --- | --- | --- | --- |
| 10/6/22 |  | Bldg #358 Fort wadsworth |  |
| Job Description | Rate Amount |  |  |
| After replacement of diagram in Sloan flush ometer there was a stoppage in urinal pulled out a load of pubic hair and also the strainer support plate was rotted, recommend replacement of this urinal this urinal indures high volume of use since this is the only urinal in this bathroom. | 1- Sloan model # WEUS1002.1001 washdown wall urinal with gaskets and mounting hardware-----$843.57 1- day 1- mechanic ----------------------$1000.00 4hrs------to install diagram and clear pubic hair ----$400.00 PROPOSAL TOTAL------$2243.57 |  |  |
|  | PROPOSAL TOTAL $2243.57 |  |  |
|  | Tax |  |  |
| Total Due |  |  |  |

Thank you for your business.