Fahrenheit Incorporated

85 Farless Ave

Old Bridge N.J.08857

Telephone (732) 673- 9318

E-mail: Celcius60@aol.com

| To: |  |
| --- | --- |
| CMI/ Joe Bayne Fort wadsworth |  |

DUE DATE

08/15/23

CSS# 94362---WO#--23754

| P.0. # Invoice # Date |  | Project |  |
| --- | --- | --- | --- |
| Thurs—Friday 7/20—7/21--2023 |  | 15 ton DX unit located on side of bldg#208 |  |
| Job Description | Rate Amount |  |  |
| Emergency service call re-sponded thurs 7/20 had to turn around the rain was unbearable. Received call from vinny came Friday, Installed guage set found system short of refrigerant, Added 26.5 lbs of R-410A brought system to proper operating tempertures and pressures. Checked class room tempertures ok came down 5 degrees | Regular price per lb of R-410A--$100.00 Discount price to customer is $75.00 per lb total pounds added to system 26.5 lbs. Total cost $1987.50. No charge for Thursday 7/20 Labor for Friday 7/21--$400.00 -----Total cost to customer--$2387.50 |  |  |
|  | Subtotal $ $2387.50 |  |  |
|  | Tax |  |  |
| Total Due $2387.50 |  |  |  |

Thank you for your business.