Fahrenheit Incorporated

85 Farless ave

Old bridge N.J.08857

Telephone (732) 673- 9318

E-mail: Celcius60@aol.com

| To: |  |
| --- | --- |
| CMI Joe Bain Bldg 356 and blg208 |  |

| Date 03/09/22 |  | Bldg 356 and bldg 208 hot water heater repairs |  |
| --- | --- | --- | --- |
| Job Description | Rate Amount |  |  |
| Found both rotted 1” dielectric unions, and nipples needing to be re-placed on two individual 75 gallon hot water heaters for domestic water 1- heater located in mechanical room for bldg #356 and 1- heater located in bldg #208 in sub- basement mechanical room. These repairs are necessary since these fittings could rupture at anytime. | Materials and Labor as follows: 4-1” dialectric nipples---2-1”copper x ips unions---1-1”x 10ft—copper pipe—2-1”copper x copper slip couplings 2-1”c x fem adaptors---1- roll of emery cloth 2-1”cxc reg couplings 1-roll 95/5 solder Flux actyelene. Material total cost--$667.36---Labor total cost to do both heaters anticipating any problems that could occur dealing with rotted and rusted fittings 12hrs which includes all expediting of materials with truck expense --$1800 1-75gallon heater for bldg #356-$1,233.68—1-75 gallon heater for bldg #208---$1233.68 |  |  |
|  | Total cost for this proposal---$2467.36 |  |  |

Thank you for your business.